{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Gráf1","Simple Data","Plan1"],"not_rendered":{"charts":3,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Gráf1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Simple Data","index":1,"n_rows":564,"n_cols":3,"rows_kept":564,"cut":false,"hidden":false,"merged":[]}
["Time","Temperature (C)"," Humidity (%)"]
["07:51:56",19.25]
["07:52:56",19.309999999999999]
["07:53:56",19.309999999999999]
["07:54:56",19.309999999999999]
["07:55:56",19.37]
["07:56:56",19.37]
["07:57:56",19.37]
["07:58:56",19.37]
["07:59:56",19.37]
["08:00:56",19.440000000000001]
["08:01:55",19.440000000000001]
["08:02:55",19.440000000000001]
["08:03:55",19.440000000000001]
["08:04:55",19.5]
["08:05:55",19.5]
["08:06:55",19.5]
["08:07:55",19.5]
["08:08:55",19.5]
["08:09:55",19.559999999999999]
["08:10:55",19.559999999999999]
["08:11:55",19.62]
["08:12:55",19.62]
["08:13:55",19.62]
["08:14:55",19.62]
["08:15:55",19.62]
["08:16:55",19.690000000000001]
["08:17:55",19.690000000000001]
["08:18:55",19.690000000000001]
["08:19:55",19.690000000000001]
["08:20:55",19.75]
["08:21:55",19.75]
["08:22:55",19.809999999999999]
["08:23:55",19.87]
["08:24:55",19.87]
["08:25:55",19.87]
["08:26:55",19.940000000000001]
["08:27:55",20]
["08:28:55",20]
["08:29:55",20]
["08:30:54",20.059999999999999]
["08:31:54",20.12]
["08:32:54",20.12]
["08:33:54",20.190000000000001]
["08:34:54",20.25]
["08:35:54",20.309999999999999]
["08:36:54",20.37]
["08:37:54",20.440000000000001]
["08:38:54",20.440000000000001]
["08:39:54",20.440000000000001]
["08:40:54",20.5]
["08:41:54",20.56]
["08:42:54",20.56]
["08:43:54",20.62]
["08:44:54",20.69]
["08:45:54",20.69]
["08:46:54",20.75]
["08:47:54",20.81]
["08:48:54",20.81]
["08:49:54",20.81]
["08:50:54",20.87]
["08:51:54",20.87]
["08:52:54",20.87]
["08:53:54",20.87]
["08:54:54",20.87]
["08:55:54",20.94]
["08:56:54",21]
["08:57:54",20.94]
["08:58:54",20.94]
["08:59:54",20.94]
["09:00:53",20.94]
["09:01:53",20.94]
["09:02:53",20.94]
["09:03:53",21]
["09:04:53",21.06]
["09:05:53",21.12]
["09:06:53",21.12]
["09:07:53",21.12]
["09:08:53",21.12]
["09:09:53",21.12]
["09:10:53",21.19]
["09:11:53",21.31]
["09:12:53",21.37]
["09:13:53",21.44]
["09:14:53",21.44]
["09:15:53",21.5]
["09:16:53",21.56]
["09:17:53",21.56]
["09:18:53",21.56]
["09:19:53",21.56]
["09:20:53",21.62]
["09:21:53",21.62]
["09:22:53",21.69]
["09:23:53",21.69]
["09:24:53",21.75]
["09:25:53",21.81]
["09:26:53",21.81]
["09:27:53",21.87]
["09:28:53",21.87]
["09:29:53",21.94]
["09:30:53",21.94]
["09:31:53",22]
["09:32:53",22]
["09:33:53",22]
["09:34:52",21.94]
["09:35:52",21.87]
["09:36:52",21.87]
["09:37:52",21.87]
["09:38:52",21.87]
["09:39:52",21.87]
["09:40:52",21.87]
["09:41:52",21.94]
["09:42:52",21.94]
["09:43:52",22]
["09:44:52",22]
["09:45:52",21.94]
["09:46:52",21.94]
["09:47:52",21.94]
["09:48:52",21.94]
["09:49:52",21.94]
["09:50:52",21.94]
["09:51:52",21.94]
["09:52:52",21.87]
["09:53:52",21.87]
["09:54:52",21.87]
["09:55:52",21.94]
["09:56:52",21.87]
["09:57:52",21.87]
["09:58:52",21.87]
["09:59:52",21.94]
["10:00:52",21.94]
["10:01:52",21.94]
["10:02:52",22]
["10:03:52",22]
["10:04:52",22]
["10:05:52",22]
["10:06:52",22]
["10:07:52",22.06]
["10:08:52",22.12]
["10:09:52",22.12]
["10:10:51",22.19]
["10:11:51",22.19]
["10:12:51",22.19]
["10:13:51",22.25]
["10:14:51",22.31]
["10:15:51",22.37]
["10:16:51",22.37]
["10:17:51",22.44]
["10:18:51",22.44]
["10:19:51",22.5]
["10:20:51",22.62]
["10:21:51",22.62]
["10:22:51",22.69]
["10:23:51",22.81]
["10:24:51",22.81]
["10:25:51",22.87]
["10:26:51",22.94]
["10:27:51",22.94]
["10:28:51",23]
["10:29:51",23.06]
["10:30:51",23.12]
["10:31:51",23.19]
["10:32:51",23.25]
["10:33:51",23.25]
["10:34:51",23.25]
["10:35:51",23.37]
["10:36:51",23.37]
["10:37:51",23.44]
["10:38:51",23.56]
["10:39:51",23.62]
["10:40:51",23.75]
["10:41:51",23.81]
["10:42:51",23.87]
["10:43:51",24]
["10:44:51",24]
["10:45:51",24.12]
["10:46:51",24.19]
["10:47:50",24.19]
["10:48:50",24.19]
["10:49:50",24.25]
["10:50:50",24.25]
["10:51:50",24.31]
["10:52:50",24.37]
["10:53:50",24.37]
["10:54:50",24.37]
["10:55:50",24.37]
["10:56:50",24.44]
["10:57:50",24.56]
["10:58:50",24.69]
["10:59:50",24.75]
["11:00:50",24.94]
["11:01:50",25.06]
["11:02:50",25.37]
["11:03:50",25.5]
["11:04:50",25.56]
["11:05:50",25.62]
["11:06:50",25.56]
["11:07:50",25.69]
["11:08:50",25.62]
["11:09:50",25.56]
["11:10:50",25.75]
["11:11:50",25.75]
["11:12:50",25.81]
["11:13:50",25.94]
["11:14:50",25.94]
["11:15:50",25.87]
["11:16:50",25.75]
["11:17:50",25.69]
["11:18:50",25.69]
["11:19:50",25.62]
["11:20:50",25.87]
["11:21:50",25.94]
["11:22:50",25.94]
["11:23:50",25.87]
["11:24:50",26]
["11:25:50",26.06]
["11:26:49",26.12]
["11:27:49",26.12]
["11:28:49",26.06]
["11:29:49",26.25]
["11:30:49",26.44]
["11:31:49",26.44]
["11:32:49",26.75]
["11:33:49",26.87]
["11:34:49",26.94]
["11:35:49",27.06]
["11:36:49",27.12]
["11:37:49",27.19]
["11:38:49",27.25]
["11:39:49",27.31]
["11:40:49",27.44]
["11:41:49",27.44]
["11:42:49",27.62]
["11:43:49",27.62]
["11:44:49",27.69]
["11:45:49",27.87]
["11:46:49",27.94]
["11:47:49",27.94]
["11:48:49",28.06]
["11:49:49",28.12]
["11:50:49",28.19]
["11:51:49",28.19]
["11:52:49",28.25]
["11:53:49",28.31]
["11:54:49",28.25]
["11:55:49",28.37]
["11:56:49",28.37]
["11:57:49",28.5]
["11:58:49",28.62]
["11:59:49",28.75]
["12:00:49",28.81]
["12:01:49",29.19]
["12:02:49",29.25]
["12:03:49",29.25]
["12:04:49",29.44]
["12:05:49",29.56]
["12:06:48",29.44]
["12:07:48",29.69]
["12:08:48",29.81]
["12:09:48",29.81]
["12:10:48",29.87]
["12:11:48",30]
["12:12:48",30.06]
["12:13:48",30.25]
["12:14:48",30.37]
["12:15:48",30.5]
["12:16:48",30.56]
["12:17:48",30.75]
["12:18:48",30.87]
["12:19:48",30.75]
["12:20:48",30.69]
["12:21:48",30.87]
["12:22:48",31.06]
["12:23:48",31.25]
["12:24:48",31.25]
["12:25:48",31.37]
["12:26:48",31.69]
["12:27:48",31.87]
["12:28:48",32]
["12:29:48",32.06]
["12:30:48",32.06]
["12:31:48",32.31]
["12:32:48",32.31]
["12:33:48",32.25]
["12:34:48",32.630000000000003]
["12:35:48",32.630000000000003]
["12:36:48",32.69]
["12:37:48",32.94]
["12:38:48",33.25]
["12:39:48",33.69]
["12:40:48",33.81]
["12:41:47",33.880000000000003]
["12:42:47",33.75]
["12:43:47",33.630000000000003]
["12:44:47",33.56]
["12:45:47",33.44]
["12:46:47",33.630000000000003]
["12:47:47",33.56]
["12:48:47",33.630000000000003]
["12:49:47",33.880000000000003]
["12:50:47",34.06]
["12:51:47",34.75]
["12:52:47",35.19]
["12:53:47",35.56]
["12:54:47",35.44]
["12:55:47",35.44]
["12:56:47",34.94]
["12:57:47",35.06]
["12:58:47",35]
["12:59:47",35.06]
["13:00:47",34.81]
["13:01:47",34.130000000000003]
["13:02:47",34.130000000000003]
["13:03:47",34]
["13:04:47",33.81]
["13:05:47",33.75]
["13:06:47",33.880000000000003]
["13:07:47",33.81]
["13:08:47",33.5]
["13:09:47",33.380000000000003]
["13:10:47",33.31]
["13:11:47",33.31]
["13:12:47",33.31]
["13:13:47",33.25]
["13:14:47",33.380000000000003]
["13:15:46",33.44]
["13:16:46",33.31]
["13:17:46",33.25]
["13:18:46",33.06]
["13:19:46",32.81]
["13:20:46",32.630000000000003]
["13:21:46",32.5]
["13:22:46",32.44]
["13:23:46",32.130000000000003]
["13:24:46",32.31]
["13:25:46",32.25]
["13:26:46",32.25]
["13:27:46",32.25]
["13:28:46",32.25]
["13:29:46",32.31]
["13:30:46",32.380000000000003]
["13:31:46",32.19]
["13:32:46",31.87]
["13:33:46",31.75]
["13:34:46",31.69]
["13:35:46",31.81]
["13:36:46",31.69]
["13:37:46",31.62]
["13:38:46",31.75]
["13:39:46",31.87]
["13:40:46",31.94]
["13:41:46",31.94]
["13:42:46",31.94]
["13:43:46",32]
["13:44:46",31.87]
["13:45:46",31.69]
["13:46:46",31.56]
["13:47:46",31.62]
["13:48:46",31.44]
["13:49:46",31.37]
["13:50:46",31.19]
["13:51:45",30.94]
["13:52:45",30.87]
["13:53:45",30.94]
["13:54:45",30.94]
["13:55:45",30.94]
["13:56:45",30.87]
["13:57:45",31]
["13:58:45",30.94]
["13:59:45",30.87]
["14:00:45",30.62]
["14:01:45",30.56]
["14:02:45",30.56]
["14:03:45",30.5]
["14:04:45",30.5]
["14:05:45",30.44]
["14:06:45",30.31]
["14:07:45",30.19]
["14:08:45",30.25]
["14:09:45",30.12]
["14:10:45",30.19]
["14:11:45",30.31]
["14:12:45",30.25]
["14:13:45",30.31]
["14:14:45",30.37]
["14:15:45",30.44]
["14:16:45",30.31]
["14:17:45",30.19]
["14:18:45",30.19]
["14:19:45",30.12]
["14:20:45",30.06]
["14:21:45",30]
["14:22:45",30.06]
["14:23:45",30.12]
["14:24:45",30.12]
["14:25:44",30.19]
["14:26:44",30.25]
["14:27:44",30.19]
["14:28:44",30.12]
["14:29:44",30.25]
["14:30:44",30.19]
["14:31:44",30.25]
["14:32:44",30.25]
["14:33:44",30.19]
["14:34:44",30.19]
["14:35:44",30.25]
["14:36:44",30.25]
["14:37:44",30.44]
["14:38:44",30.5]
["14:39:44",30.5]
["14:40:44",30.56]
["14:41:44",30.69]
["14:42:44",30.69]
["14:43:44",30.62]
["14:44:44",30.69]
["14:45:44",30.5]
["14:46:44",30.44]
["14:47:44",30.56]
["14:48:44",30.56]
["14:49:44",30.56]
["14:50:44",30.69]
["14:51:44",30.81]
["14:52:44",30.94]
["14:53:44",30.87]
["14:54:44",30.81]
["14:55:44",30.87]
["14:56:44",30.94]
["14:57:44",30.94]
["14:58:44",31]
["14:59:44",30.87]
["15:00:44",30.87]
["15:01:44",30.94]
["15:02:44",30.94]
["15:03:43",30.87]
["15:04:43",30.87]
["15:05:43",30.94]
["15:06:43",30.94]
["15:07:43",31]
["15:08:43",31]
["15:09:43",31.06]
["15:10:43",31.25]
["15:11:43",31.25]
["15:12:43",31.37]
["15:13:43",31.5]
["15:14:43",31.5]
["15:15:43",31.81]
["15:16:43",31.87]
["15:17:43",31.87]
["15:18:43",32]
["15:19:43",32.130000000000003]
["15:20:43",32.31]
["15:21:43",32.19]
["15:22:43",32.25]
["15:23:43",32.31]
["15:24:43",32.5]
["15:25:43",32.69]
["15:26:43",33.44]
["15:27:43",33.880000000000003]
["15:28:43",34.25]
["15:29:43",34.44]
["15:30:43",33.880000000000003]
["15:31:43",33.44]
["15:32:43",33.25]
["15:33:43",33.19]
["15:34:43",33]
["15:35:43",32.94]
["15:36:43",32.94]
["15:37:43",32.81]
["15:38:43",32.81]
["15:39:43",32.880000000000003]
["15:40:43",32.75]
["15:41:43",32.630000000000003]
["15:42:43",32.5]
["15:43:42",32.25]
["15:44:42",32.25]
["15:45:42",31.94]
["15:46:42",31.5]
["15:47:42",31.5]
["15:48:42",31.37]
["15:49:42",31.06]
["15:50:42",31.06]
["15:51:42",31]
["15:52:42",30.75]
["15:53:42",30.75]
["15:54:42",30.81]
["15:55:42",30.81]
["15:56:42",30.81]
["15:57:42",30.75]
["15:58:42",30.62]
["15:59:42",30.44]
["16:00:42",30.19]
["16:01:42",30]
["16:02:42",29.75]
["16:03:42",29.62]
["16:04:42",29.5]
["16:05:42",29.25]
["16:06:42",29.12]
["16:07:42",28.94]
["16:08:42",28.75]
["16:09:42",28.69]
["16:10:42",28.62]
["16:11:42",28.62]
["16:12:42",28.62]
["16:13:42",28.56]
["16:14:42",28.56]
["16:15:42",28.56]
["16:16:42",28.5]
["16:17:42",28.5]
["16:18:42",28.56]
["16:19:42",28.56]
["16:20:42",28.69]
["16:21:41",28.62]
["16:22:41",28.62]
["16:23:41",28.62]
["16:24:41",28.62]
["16:25:41",28.62]
["16:26:41",28.69]
["16:27:41",28.75]
["16:28:41",28.87]
["16:29:41",28.87]
["16:30:41",28.87]
["16:31:41",28.94]
["16:32:41",28.94]
["16:33:41",29]
["16:34:41",29.12]
["16:35:41",29.31]
["16:36:41",29.5]
["16:37:41",30.25]
["16:38:41",30.94]
["16:39:41",30.81]
["16:40:41",30.37]
["16:41:41",30.31]
["16:42:41",30.12]
["16:43:41",30.12]
["16:44:41",30.12]
["16:45:41",30]
["16:46:41",29.94]
["16:47:41",29.87]
["16:48:41",29.81]
["16:49:41",29.87]
["16:50:41",29.81]
["16:51:41",29.62]
["16:52:41",29.69]
["16:53:41",29.62]
["16:54:41",29.5]
["16:55:41",29.44]
["16:56:41",29.12]
["16:57:41",28.94]
["16:58:41",28.81]
["16:59:41",28.62]
["17:00:41",28.37]
["17:01:40",28.37]
["17:02:40",28.12]
["17:03:40",27.81]
["17:04:40",27.81]
["17:05:40",27.62]
["17:06:40",27.5]
["17:07:40",27.5]
["17:08:40",27.5]
["17:09:40",27.44]
["17:10:40",27.37]
["17:11:40",27.31]
["17:12:40",27.25]
["17:13:40",27.31]

{"sheet":"Plan1","index":2,"n_rows":93,"n_cols":38,"rows_kept":93,"cut":false,"hidden":false,"merged":[]}
["ba ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"R"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,3]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Última Temperatura:",{"$f":"INDEX('Simple Data'!B:B, COUNTA('Simple Data'!B:B))","v":27.31},{"$f":"INDEX('Simple Data'!A:A, COUNTA('Simple Data'!A:A))","v":"17:13:40"}]