{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Gráf1","Simple Data","Plan1","Planilha1"],"not_rendered":{"charts":4,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Gráf1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Simple Data","index":1,"n_rows":664,"n_cols":3,"rows_kept":664,"cut":false,"hidden":false,"merged":[]}
["Time","Temperature (C)"," Humidity (%)"]
["05:45:48",18.690000000000001]
["05:46:48",18.690000000000001]
["05:47:48",18.690000000000001]
["05:48:48",18.690000000000001]
["05:49:48",18.75]
["05:50:48",18.690000000000001]
["05:51:48",18.690000000000001]
["05:52:47",18.690000000000001]
["05:53:47",18.690000000000001]
["05:54:47",18.690000000000001]
["05:55:47",18.75]
["05:56:47",18.690000000000001]
["05:57:47",18.75]
["05:58:47",18.690000000000001]
["05:59:47",18.690000000000001]
["06:00:47",18.690000000000001]
["06:01:47",18.690000000000001]
["06:02:47",18.690000000000001]
["06:03:47",18.690000000000001]
["06:04:47",18.690000000000001]
["06:05:47",18.690000000000001]
["06:06:47",18.690000000000001]
["06:07:47",18.690000000000001]
["06:08:47",18.690000000000001]
["06:09:47",18.690000000000001]
["06:10:47",18.690000000000001]
["06:11:47",18.690000000000001]
["06:12:47",18.690000000000001]
["06:13:47",18.62]
["06:14:47",18.62]
["06:15:47",18.62]
["06:16:47",18.62]
["06:17:47",18.559999999999999]
["06:18:47",18.559999999999999]
["06:19:47",18.559999999999999]
["06:20:47",18.559999999999999]
["06:21:47",18.62]
["06:22:47",18.62]
["06:23:47",18.690000000000001]
["06:24:47",18.690000000000001]
["06:25:47",18.690000000000001]
["06:26:46",18.690000000000001]
["06:27:46",18.690000000000001]
["06:28:46",18.62]
["06:29:46",18.62]
["06:30:46",18.62]
["06:31:46",18.559999999999999]
["06:32:46",18.62]
["06:33:46",18.62]
["06:34:46",18.62]
["06:35:46",18.559999999999999]
["06:36:46",18.559999999999999]
["06:37:46",18.559999999999999]
["06:38:46",18.5]
["06:39:46",18.5]
["06:40:46",18.5]
["06:41:46",18.5]
["06:42:46",18.5]
["06:43:46",18.5]
["06:44:46",18.5]
["06:45:46",18.5]
["06:46:46",18.440000000000001]
["06:47:46",18.440000000000001]
["06:48:46",18.440000000000001]
["06:49:46",18.440000000000001]
["06:50:46",18.440000000000001]
["06:51:46",18.440000000000001]
["06:52:46",18.37]
["06:53:46",18.440000000000001]
["06:54:46",18.440000000000001]
["06:55:46",18.440000000000001]
["06:56:46",18.440000000000001]
["06:57:46",18.37]
["06:58:46",18.440000000000001]
["06:59:46",18.37]
["07:00:46",18.37]
["07:01:45",18.37]
["07:02:45",18.37]
["07:03:45",18.37]
["07:04:45",18.37]
["07:05:45",18.37]
["07:06:45",18.37]
["07:07:45",18.37]
["07:08:45",18.37]
["07:09:45",18.37]
["07:10:45",18.37]
["07:11:45",18.440000000000001]
["07:12:45",18.440000000000001]
["07:13:45",18.440000000000001]
["07:14:45",18.5]
["07:15:45",18.5]
["07:16:45",18.559999999999999]
["07:17:45",18.62]
["07:18:45",18.62]
["07:19:45",18.690000000000001]
["07:20:45",18.690000000000001]
["07:21:45",18.809999999999999]
["07:22:45",18.809999999999999]
["07:23:45",18.809999999999999]
["07:24:45",18.809999999999999]
["07:25:45",18.809999999999999]
["07:26:45",18.75]
["07:27:45",18.75]
["07:28:45",18.75]
["07:29:45",18.75]
["07:30:45",18.75]
["07:31:45",18.809999999999999]
["07:32:45",18.809999999999999]
["07:33:45",18.87]
["07:34:45",18.87]
["07:35:44",18.87]
["07:36:44",18.87]
["07:37:44",18.940000000000001]
["07:38:44",18.87]
["07:39:44",18.940000000000001]
["07:40:44",18.940000000000001]
["07:41:44",18.940000000000001]
["07:42:44",18.940000000000001]
["07:43:44",19]
["07:44:44",19]
["07:45:44",19]
["07:46:44",19]
["07:47:44",19]
["07:48:44",19]
["07:49:44",19]
["07:50:44",19]
["07:51:44",19.059999999999999]
["07:52:44",19.059999999999999]
["07:53:44",19.059999999999999]
["07:54:44",19.12]
["07:55:44",19.12]
["07:56:44",19.12]
["07:57:44",19.12]
["07:58:44",19.12]
["07:59:44",19.190000000000001]
["08:00:44",19.190000000000001]
["08:01:44",19.190000000000001]
["08:02:44",19.25]
["08:03:44",19.25]
["08:04:44",19.25]
["08:05:44",19.25]
["08:06:44",19.25]
["08:07:44",19.309999999999999]
["08:08:44",19.309999999999999]
["08:09:44",19.37]
["08:10:43",19.37]
["08:11:43",19.440000000000001]
["08:12:43",19.440000000000001]
["08:13:43",19.440000000000001]
["08:14:43",19.5]
["08:15:43",19.5]
["08:16:43",19.559999999999999]
["08:17:43",19.559999999999999]
["08:18:43",19.559999999999999]
["08:19:43",19.5]
["08:20:43",19.440000000000001]
["08:21:43",19.309999999999999]
["08:22:43",19.309999999999999]
["08:23:43",19.309999999999999]
["08:24:43",19.440000000000001]
["08:25:43",19.5]
["08:26:43",19.559999999999999]
["08:27:43",19.5]
["08:28:43",19.309999999999999]
["08:29:43",19.25]
["08:30:43",19.190000000000001]
["08:31:43",19.190000000000001]
["08:32:43",19.059999999999999]
["08:33:43",19.059999999999999]
["08:34:43",19.190000000000001]
["08:35:43",19.190000000000001]
["08:36:43",19.190000000000001]
["08:37:43",19.12]
["08:38:43",19.12]
["08:39:43",19.12]
["08:40:43",19.190000000000001]
["08:41:43",19.190000000000001]
["08:42:43",19.25]
["08:43:43",19.25]
["08:44:43",19.309999999999999]
["08:45:43",19.309999999999999]
["08:46:42",19.37]
["08:47:42",19.37]
["08:48:42",19.440000000000001]
["08:49:42",19.5]
["08:50:42",19.559999999999999]
["08:51:42",19.62]
["08:52:42",19.690000000000001]
["08:53:42",19.75]
["08:54:42",19.75]
["08:55:42",19.809999999999999]
["08:56:42",19.809999999999999]
["08:57:42",19.809999999999999]
["08:58:42",19.75]
["08:59:42",19.75]
["09:00:42",19.809999999999999]
["09:01:42",19.809999999999999]
["09:02:42",19.87]
["09:03:42",19.87]
["09:04:42",19.940000000000001]
["09:05:42",20]
["09:06:42",20]
["09:07:42",20]
["09:08:42",20.059999999999999]
["09:09:42",20.059999999999999]
["09:10:42",20.309999999999999]
["09:11:42",20.37]
["09:12:42",20.440000000000001]
["09:13:42",20.62]
["09:14:42",20.75]
["09:15:42",20.81]
["09:16:42",20.94]
["09:17:42",21]
["09:18:42",21.25]
["09:19:42",21.31]
["09:20:42",21.44]
["09:21:41",21.44]
["09:22:41",21.5]
["09:23:41",21.69]
["09:24:41",21.81]
["09:25:41",21.94]
["09:26:41",21.87]
["09:27:41",21.81]
["09:28:41",21.81]
["09:29:41",21.87]
["09:30:41",21.94]
["09:31:41",22]
["09:32:41",22.06]
["09:33:41",22]
["09:34:41",22.12]
["09:35:41",22.12]
["09:36:41",22.19]
["09:37:41",22.19]
["09:38:41",22.12]
["09:39:41",22.12]
["09:40:41",22.12]
["09:41:41",22.12]
["09:42:41",22.06]
["09:43:41",22.12]
["09:44:41",22.19]
["09:45:41",22.19]
["09:46:41",22.25]
["09:47:41",22.31]
["09:48:41",22.37]
["09:49:41",22.44]
["09:50:41",22.62]
["09:51:41",22.75]
["09:52:41",22.94]
["09:53:41",23.06]
["09:54:41",23.25]
["09:55:41",23.44]
["09:56:41",23.62]
["09:57:41",23.69]
["09:58:40",23.87]
["09:59:40",24]
["10:00:40",24.12]
["10:01:40",24.12]
["10:02:40",24.31]
["10:03:40",24.56]
["10:04:40",24.62]
["10:05:40",24.81]
["10:06:40",24.94]
["10:07:40",25.06]
["10:08:40",25.25]
["10:09:40",25.5]
["10:10:40",25.94]
["10:11:40",26]
["10:12:40",26]
["10:13:40",26.06]
["10:14:40",26.19]
["10:15:40",26.19]
["10:16:40",26.37]
["10:17:40",26.5]
["10:18:40",26.69]
["10:19:40",26.87]
["10:20:40",26.81]
["10:21:40",26.87]
["10:22:40",26.87]
["10:23:40",26.94]
["10:24:40",26.87]
["10:25:40",26.81]
["10:26:40",26.69]
["10:27:40",26.81]
["10:28:40",27]
["10:29:40",27.37]
["10:30:40",28.5]
["10:31:40",29.62]
["10:32:40",30.06]
["10:33:40",31]
["10:34:40",30.87]
["10:35:40",30.37]
["10:36:39",30]
["10:37:39",29.94]
["10:38:39",30.19]
["10:39:39",31.37]
["10:40:39",32.380000000000003]
["10:41:39",33.880000000000003]
["10:42:39",35]
["10:43:39",35.130000000000003]
["10:44:39",35.25]
["10:45:39",35.19]
["10:46:39",35.75]
["10:47:39",36.630000000000003]
["10:48:39",35.06]
["10:49:39",33.94]
["10:50:39",33.94]
["10:51:39",33.630000000000003]
["10:52:39",32.380000000000003]
["10:53:39",32.25]
["10:54:39",31.87]
["10:55:39",31.69]
["10:56:39",31.62]
["10:57:39",31.75]
["10:58:39",31.87]
["10:59:39",31.69]
["11:00:39",31.75]
["11:01:39",31.75]
["11:02:39",32]
["11:03:39",32.06]
["11:04:39",32.19]
["11:05:39",32.31]
["11:06:39",32.380000000000003]
["11:07:39",32.69]
["11:08:39",32.81]
["11:09:39",33.5]
["11:10:39",33.75]
["11:11:38",34]
["11:12:38",33.94]
["11:13:38",33.94]
["11:14:38",34.130000000000003]
["11:15:38",35.06]
["11:16:38",34.69]
["11:17:38",34.130000000000003]
["11:18:38",33.81]
["11:19:38",33.94]
["11:20:38",34.44]
["11:21:38",35]
["11:22:38",34.75]
["11:23:38",35.880000000000003]
["11:24:38",35.81]
["11:25:38",35.25]
["11:26:38",35.19]
["11:27:38",35.630000000000003]
["11:28:38",35.75]
["11:29:38",35.75]
["11:30:38",35.880000000000003]
["11:31:38",36.25]
["11:32:38",36.31]
["11:33:38",36.31]
["11:34:38",36.130000000000003]
["11:35:38",36.06]
["11:36:38",36.06]
["11:37:38",36.25]
["11:38:38",36.630000000000003]
["11:39:38",36.880000000000003]
["11:40:38",36.06]
["11:41:38",35.06]
["11:42:38",34.56]
["11:43:38",34.630000000000003]
["11:44:38",35]
["11:45:37",34.56]
["11:46:37",34.130000000000003]
["11:47:37",34.380000000000003]
["11:48:37",34.630000000000003]
["11:49:37",34.5]
["11:50:37",34.94]
["11:51:37",34.81]
["11:52:37",34.880000000000003]
["11:53:37",34.81]
["11:54:37",34.880000000000003]
["11:55:37",34.75]
["11:56:37",35.31]
["11:57:37",36.130000000000003]
["11:58:37",36.880000000000003]
["11:59:37",36.75]
["12:00:37",37]
["12:01:37",36.31]
["12:02:37",35.81]
["12:03:37",35.06]
["12:04:37",34.56]
["12:05:37",34.130000000000003]
["12:06:37",34]
["12:07:37",33.94]
["12:08:37",33.94]
["12:09:37",34]
["12:10:37",33.81]
["12:11:37",33.69]
["12:12:37",33.5]
["12:13:37",33.44]
["12:14:37",33.44]
["12:15:37",33.81]
["12:16:37",33.880000000000003]
["12:17:37",33.75]
["12:18:37",33.69]
["12:19:37",33.44]
["12:20:37",33.130000000000003]
["12:21:37",32.94]
["12:22:37",33]
["12:23:36",33.06]
["12:24:36",32.81]
["12:25:36",32.81]
["12:26:36",32.06]
["12:27:36",31.75]
["12:28:36",31.62]
["12:29:36",31.69]
["12:30:36",32]
["12:31:36",32.06]
["12:32:36",32.31]
["12:33:36",31.81]
["12:34:36",31.25]
["12:35:36",30.94]
["12:36:36",30.62]
["12:37:36",30.62]
["12:38:36",30.37]
["12:39:36",30]
["12:40:36",29.69]
["12:41:36",29.44]
["12:42:36",29.19]
["12:43:36",29.31]
["12:44:36",29.37]
["12:45:36",29.56]
["12:46:36",29.31]
["12:47:36",29.25]
["12:48:36",29.12]
["12:49:36",29.5]
["12:50:36",29.19]
["12:51:36",29.12]
["12:52:36",28.62]
["12:53:36",28.12]
["12:54:36",28.06]
["12:55:36",28.12]
["12:56:36",27.87]
["12:57:36",27.62]
["12:58:36",27.31]
["12:59:36",27.25]
["13:00:36",27.37]
["13:01:35",27.19]
["13:02:35",27.31]
["13:03:35",27.19]
["13:04:35",27.12]
["13:05:35",27]
["13:06:35",26.87]
["13:07:35",26.87]
["13:08:35",26.87]
["13:09:35",26.81]
["13:10:35",26.87]
["13:11:35",26.94]
["13:12:35",27.06]
["13:13:35",27.06]
["13:14:35",27.19]
["13:15:35",27.19]
["13:16:35",27.06]
["13:17:35",26.94]
["13:18:35",27.06]
["13:19:35",27.06]
["13:20:35",27.12]
["13:21:35",27]
["13:22:35",27.19]
["13:23:35",27]
["13:24:35",27.19]
["13:25:35",27.31]
["13:26:35",27.75]
["13:27:35",28.31]
["13:28:35",28.87]
["13:29:35",29.5]
["13:30:35",29.75]
["13:31:35",30]
["13:32:35",29.69]
["13:33:35",29.37]
["13:34:35",29.37]
["13:35:35",28.87]
["13:36:35",28.69]
["13:37:35",28.44]
["13:38:34",28.5]
["13:39:34",28.44]
["13:40:34",28.31]
["13:41:34",28.31]
["13:42:34",28.25]
["13:43:34",28.12]
["13:44:34",28]
["13:45:34",27.81]
["13:46:34",27.75]
["13:47:34",27.81]
["13:48:34",28.31]
["13:49:34",28.69]
["13:50:34",28.94]
["13:51:34",28.25]
["13:52:34",28.12]
["13:53:34",28.19]
["13:54:34",28.31]
["13:55:34",28.37]
["13:56:34",28.06]
["13:57:34",28.31]
["13:58:34",28.31]
["13:59:34",28.25]
["14:00:34",28.25]
["14:01:34",27.87]
["14:02:34",27.62]
["14:03:34",27.37]
["14:04:34",27.5]
["14:05:34",27.69]
["14:06:34",27.69]
["14:07:34",28]
["14:08:34",28.19]
["14:09:34",28.37]
["14:10:34",28.37]
["14:11:34",28.75]
["14:12:34",28.94]
["14:13:34",28.81]
["14:14:33",28.37]
["14:15:33",28.31]
["14:16:33",28.12]
["14:17:33",28.12]
["14:18:33",27.94]
["14:19:33",27.94]
["14:20:33",28.19]
["14:21:33",28.37]
["14:22:33",28.69]
["14:23:33",29.19]
["14:24:33",29.19]
["14:25:33",29.31]
["14:26:33",29.56]
["14:27:33",30.44]
["14:28:33",33.06]
["14:29:33",34.380000000000003]
["14:30:33",33.75]
["14:31:33",32.44]
["14:32:33",30.94]
["14:33:33",30.37]
["14:34:33",29.75]
["14:35:33",29.25]
["14:36:33",29.19]
["14:37:33",29]
["14:38:33",28.81]
["14:39:33",28.75]
["14:40:33",28.5]
["14:41:33",28.31]
["14:42:33",27.87]
["14:43:33",27.81]
["14:44:33",27.75]
["14:45:33",27.81]
["14:46:33",27.75]
["14:47:33",27.5]
["14:48:33",27.56]
["14:49:33",27.75]
["14:50:32",27.87]
["14:51:32",28.12]
["14:52:32",28.25]
["14:53:32",28.19]
["14:54:32",28.06]
["14:55:32",27.75]
["14:56:32",27.69]
["14:57:32",28.06]
["14:58:32",28.06]
["14:59:32",28.25]
["15:00:32",28.62]
["15:01:32",29.44]
["15:02:32",29.12]
["15:03:32",29.56]
["15:04:32",29.06]
["15:05:32",28.69]
["15:06:32",28.44]
["15:07:32",28.31]
["15:08:32",28.12]
["15:09:32",27.81]
["15:10:32",27.69]
["15:11:32",27.62]
["15:12:32",27.37]
["15:13:32",27.37]
["15:14:32",27.62]
["15:15:32",28.12]
["15:16:32",28.87]
["15:17:32",28.75]
["15:18:32",28.31]
["15:19:32",28.19]
["15:20:32",28.25]
["15:21:32",28.25]
["15:22:32",28]
["15:23:32",27.81]
["15:24:32",27.81]
["15:25:32",27.69]
["15:26:31",27.44]
["15:27:31",27.25]
["15:28:31",27.06]
["15:29:31",26.94]
["15:30:31",26.87]
["15:31:31",26.81]
["15:32:31",26.5]
["15:33:31",26.25]
["15:34:31",26.19]
["15:35:31",26.19]
["15:36:31",26]
["15:37:31",25.87]
["15:38:31",25.69]
["15:39:31",25.75]
["15:40:31",25.75]
["15:41:31",25.69]
["15:42:31",25.56]
["15:43:31",25.56]
["15:44:31",25.56]
["15:45:31",25.56]
["15:46:31",25.56]
["15:47:31",25.62]
["15:48:31",25.5]
["15:49:31",25.44]
["15:50:31",25.31]
["15:51:31",25.19]
["15:52:31",25]
["15:53:31",25]
["15:54:31",25.06]
["15:55:31",25]
["15:56:31",24.94]
["15:57:31",24.87]
["15:58:31",24.87]
["15:59:31",24.81]
["16:00:30",24.69]
["16:01:30",24.62]
["16:02:30",24.5]
["16:03:30",24.37]
["16:04:30",24.37]
["16:05:30",24.31]
["16:06:30",24.25]
["16:07:30",24.19]
["16:08:30",24.19]
["16:09:30",24.12]
["16:10:30",24.06]
["16:11:30",24.06]
["16:12:30",24]
["16:13:30",24]
["16:14:30",24]
["16:15:30",23.94]
["16:16:30",23.94]
["16:17:30",23.94]
["16:18:30",23.87]
["16:19:30",23.87]
["16:20:30",23.87]
["16:21:30",23.81]
["16:22:30",23.75]
["16:23:30",23.69]
["16:24:30",23.69]
["16:25:30",23.62]
["16:26:30",23.62]
["16:27:30",23.62]
["16:28:30",23.62]
["16:29:30",23.56]
["16:30:30",23.56]
["16:31:30",23.5]
["16:32:30",23.5]
["16:33:30",23.5]
["16:34:30",23.56]
["16:35:30",23.44]
["16:36:29",23.37]
["16:37:29",23.37]
["16:38:29",23.31]
["16:39:29",23.31]
["16:40:29",23.25]
["16:41:29",23.19]
["16:42:29",23.12]
["16:43:29",23.06]
["16:44:29",23]
["16:45:29",23]
["16:46:29",23]
["16:47:46",22.62]

{"sheet":"Plan1","index":2,"n_rows":93,"n_cols":38,"rows_kept":93,"cut":false,"hidden":false,"merged":[]}
["ba ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,"R"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,3]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Última Temperatura:",{"$f":"INDEX('Simple Data'!B:B, COUNTA('Simple Data'!B:B))","v":22.62},{"$f":"INDEX('Simple Data'!A:A, COUNTA('Simple Data'!A:A))","v":"16:47:46"}]

{"sheet":"Planilha1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}