{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Gráf1","Simple Data","Plan1","Planilha1"],"not_rendered":{"charts":4,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Gráf1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Simple Data","index":1,"n_rows":497,"n_cols":3,"rows_kept":497,"cut":false,"hidden":false,"merged":[]}
["Time","Temperature (C)"," Humidity (%)"]
["07:17:24",4.75]
["07:18:24",4.75]
["07:19:24",4.75]
["07:20:24",4.75]
["07:21:24",4.75]
["07:22:24",4.88]
["07:23:24",4.9400000000000004]
["07:24:24",4.88]
["07:25:24",4.9400000000000004]
["07:26:24",4.9400000000000004]
["07:27:24",4.9400000000000004]
["07:28:24",5]
["07:29:24",5.13]
["07:30:24",5.13]
["07:31:24",5.19]
["07:32:24",5.19]
["07:33:23",5.19]
["07:34:23",5.25]
["07:35:23",5.31]
["07:36:23",5.38]
["07:37:23",5.5]
["07:38:23",5.5]
["07:39:23",5.63]
["07:40:23",5.63]
["07:41:23",5.63]
["07:42:23",5.75]
["07:43:23",5.75]
["07:44:23",5.81]
["07:45:23",5.88]
["07:46:23",5.94]
["07:47:23",6.06]
["07:48:23",6.19]
["07:49:23",6.25]
["07:50:23",6.25]
["07:51:23",6.38]
["07:52:23",6.44]
["07:53:23",6.56]
["07:54:23",6.56]
["07:55:23",6.63]
["07:56:23",6.81]
["07:57:23",6.81]
["07:58:23",6.94]
["07:59:23",7]
["08:00:23",7.06]
["08:01:23",7.19]
["08:02:22",7.31]
["08:03:22",7.44]
["08:04:22",7.44]
["08:05:22",7.63]
["08:06:22",7.75]
["08:07:22",7.88]
["08:08:22",8]
["08:09:22",8]
["08:10:22",8.1300000000000008]
["08:11:22",8.31]
["08:12:22",8.44]
["08:13:22",8.6300000000000008]
["08:14:22",8.75]
["08:15:22",8.8800000000000008]
["08:16:22",9]
["08:17:22",9.1300000000000008]
["08:18:22",9.31]
["08:19:22",9.44]
["08:20:22",9.56]
["08:21:22",9.69]
["08:22:22",9.81]
["08:23:22",9.94]
["08:24:22",10.130000000000001]
["08:25:22",10.19]
["08:26:22",10.31]
["08:27:22",10.5]
["08:28:22",10.69]
["08:29:22",10.81]
["08:30:22",10.88]
["08:31:21",11]
["08:32:21",11.06]
["08:33:21",11.31]
["08:34:21",11.38]
["08:35:21",11.5]
["08:36:21",11.63]
["08:37:21",11.81]
["08:38:21",12.06]
["08:39:21",12.19]
["08:40:21",12.25]
["08:41:21",12.31]
["08:42:21",12.44]
["08:43:21",12.63]
["08:44:21",12.69]
["08:45:21",12.81]
["08:46:21",13]
["08:47:21",13.19]
["08:48:21",13.25]
["08:49:21",13.44]
["08:50:21",13.5]
["08:51:21",13.56]
["08:52:21",13.69]
["08:53:21",13.75]
["08:54:21",14]
["08:55:21",14.06]
["08:56:21",14.19]
["08:57:21",14.25]
["08:58:21",14.5]
["08:59:21",14.56]
["09:00:21",14.88]
["09:01:20",14.81]
["09:02:20",14.94]
["09:03:20",15.13]
["09:04:20",15.25]
["09:05:20",15.31]
["09:06:20",15.44]
["09:07:20",15.56]
["09:08:20",15.63]
["09:09:20",15.56]
["09:10:20",15.69]
["09:11:20",15.75]
["09:12:20",15.94]
["09:13:20",16.12]
["09:14:20",16.5]
["09:15:20",16.559999999999999]
["09:16:20",16.75]
["09:17:20",16.75]
["09:18:20",16.87]
["09:19:20",16.940000000000001]
["09:20:20",17]
["09:21:20",17.12]
["09:22:20",17.190000000000001]
["09:23:20",17.190000000000001]
["09:24:20",17.37]
["09:25:20",17.559999999999999]
["09:26:20",17.62]
["09:27:20",17.809999999999999]
["09:28:20",17.75]
["09:29:20",17.940000000000001]
["09:30:20",18]
["09:31:20",18.059999999999999]
["09:32:19",18.059999999999999]
["09:33:19",18.37]
["09:34:19",18.37]
["09:35:19",18.5]
["09:36:19",18.440000000000001]
["09:37:19",18.559999999999999]
["09:38:19",18.75]
["09:39:19",18.940000000000001]
["09:40:19",19.309999999999999]
["09:41:19",19.5]
["09:42:19",19.690000000000001]
["09:43:19",19.690000000000001]
["09:44:19",19.690000000000001]
["09:45:19",19.690000000000001]
["09:46:19",19.75]
["09:47:19",19.87]
["09:48:19",19.940000000000001]
["09:49:19",20.059999999999999]
["09:50:19",20.12]
["09:51:19",20.25]
["09:52:19",20.37]
["09:53:19",20.37]
["09:54:19",20.309999999999999]
["09:55:19",20.37]
["09:56:19",20.440000000000001]
["09:57:19",20.56]
["09:58:19",20.69]
["09:59:19",20.87]
["10:00:19",21.12]
["10:01:19",21.31]
["10:02:19",21.44]
["10:03:19",21.44]
["10:04:18",21.5]
["10:05:18",21.62]
["10:06:18",21.56]
["10:07:18",21.56]
["10:08:18",21.56]
["10:09:18",21.94]
["10:10:18",22]
["10:11:18",22.19]
["10:12:18",22.37]
["10:13:18",22.69]
["10:14:18",22.62]
["10:15:18",22.75]
["10:16:18",22.87]
["10:17:18",22.94]
["10:18:18",22.81]
["10:19:18",22.62]
["10:20:18",22.94]
["10:21:18",22.87]
["10:22:18",22.87]
["10:23:18",23.19]
["10:24:18",23.37]
["10:25:18",23.62]
["10:26:18",23.12]
["10:27:18",23.31]
["10:28:18",23.81]
["10:29:18",23.81]
["10:30:18",24]
["10:31:18",24]
["10:32:18",23.69]
["10:33:18",23.81]
["10:34:18",23.75]
["10:35:18",23.81]
["10:36:17",23.62]
["10:37:17",23.69]
["10:38:17",23.62]
["10:39:17",23.62]
["10:40:17",23.94]
["10:41:17",23.94]
["10:42:17",24.19]
["10:43:17",24.37]
["10:44:17",24.56]
["10:45:17",24.62]
["10:46:17",24.37]
["10:47:17",24.5]
["10:48:17",24.5]
["10:49:17",24.62]
["10:50:17",24.62]
["10:51:17",24.37]
["10:52:17",24.62]
["10:53:17",24.62]
["10:54:17",24.69]
["10:55:17",24.87]
["10:56:17",25.25]
["10:57:17",25.19]
["10:58:17",25.37]
["10:59:17",24.94]
["11:00:17",25]
["11:01:17",25.12]
["11:02:17",25.31]
["11:03:17",25.62]
["11:04:17",26.06]
["11:05:17",25.87]
["11:06:17",25.44]
["11:07:17",25]
["11:08:16",25.44]
["11:09:16",25.69]
["11:10:16",25.75]
["11:11:16",26.37]
["11:12:16",26.19]
["11:13:16",26.31]
["11:14:16",26.56]
["11:15:16",26.62]
["11:16:16",26.56]
["11:17:16",26.69]
["11:18:16",26.69]
["11:19:16",26.81]
["11:20:16",26.69]
["11:21:16",27.19]
["11:22:16",27.12]
["11:23:16",27.19]
["11:24:16",27.37]
["11:25:16",27.44]
["11:26:16",27.5]
["11:27:16",27.87]
["11:28:16",28]
["11:29:16",28.12]
["11:30:16",28.31]
["11:31:16",28.31]
["11:32:16",28.44]
["11:33:16",28.56]
["11:34:16",28.75]
["11:35:16",28.56]
["11:36:16",28.62]
["11:37:16",29]
["11:38:16",29.06]
["11:39:16",28.56]
["11:40:15",28.75]
["11:41:15",29.12]
["11:42:15",29.31]
["11:43:15",29.44]
["11:44:15",29.62]
["11:45:15",29.5]
["11:46:15",29.06]
["11:47:15",29.12]
["11:48:15",29.62]
["11:49:15",29.56]
["11:50:15",29.75]
["11:51:15",29.81]
["11:52:15",29.56]
["11:53:15",29.94]
["11:54:15",30.37]
["11:55:15",30.37]
["11:56:15",29.87]
["11:57:15",30.12]
["11:58:15",30.19]
["11:59:15",30.69]
["12:00:15",30.87]
["12:01:15",30.75]
["12:02:15",30.87]
["12:03:15",30.87]
["12:04:15",30.69]
["12:05:15",30.94]
["12:06:15",30.94]
["12:07:15",31.19]
["12:08:15",31.19]
["12:09:15",31.19]
["12:10:15",31.31]
["12:11:15",31.44]
["12:12:15",31.06]
["12:13:14",31.19]
["12:14:17",31.44]
["12:15:14",31.56]
["12:16:14",31.87]
["12:17:14",31.87]
["12:18:14",31.94]
["12:19:14",31.87]
["12:20:14",31.5]
["12:21:14",31]
["12:22:14",31]
["12:23:14",31.12]
["12:24:14",31.37]
["12:25:14",31.5]
["12:26:14",31.44]
["12:27:14",31.25]
["12:28:14",31.56]
["12:29:14",31.69]
["12:30:14",31.87]
["12:31:14",32.06]
["12:32:14",31.44]
["12:33:14",31.56]
["12:34:14",31.25]
["12:35:14",31.44]
["12:36:14",31.81]
["12:37:14",31.81]
["12:38:14",32.25]
["12:39:14",32.380000000000003]
["12:40:14",32.380000000000003]
["12:41:14",32.130000000000003]
["12:42:14",32.31]
["12:43:14",32.75]
["12:44:14",32.380000000000003]
["12:45:14",32.880000000000003]
["12:46:14",33.130000000000003]
["12:47:13",32.880000000000003]
["12:48:13",32.94]
["12:49:13",33.19]
["12:50:13",32.94]
["12:51:13",32.5]
["12:52:13",32.130000000000003]
["12:53:13",32]
["12:54:13",32.06]
["12:55:13",31.56]
["12:56:13",31.81]
["12:57:13",31.69]
["12:58:13",31.87]
["12:59:13",32.44]
["13:00:13",32.630000000000003]
["13:01:13",32.69]
["13:02:13",32.75]
["13:03:13",32.5]
["13:04:13",32.31]
["13:05:13",31.56]
["13:06:13",31.44]
["13:07:13",31.69]
["13:08:13",32.44]
["13:09:13",32.630000000000003]
["13:10:13",32.380000000000003]
["13:11:13",32]
["13:12:13",32.44]
["13:13:13",32.630000000000003]
["13:14:13",32.69]
["13:15:13",32.31]
["13:16:13",32.630000000000003]
["13:17:13",32.19]
["13:18:13",31.87]
["13:19:13",31.81]
["13:20:13",32]
["13:21:12",32.25]
["13:22:12",32.25]
["13:23:12",31.81]
["13:24:12",31.37]
["13:25:12",31.25]
["13:26:12",31.69]
["13:27:12",32.19]
["13:28:12",32.5]
["13:29:12",32.44]
["13:30:12",31.94]
["13:31:12",31.5]
["13:32:12",31.87]
["13:33:12",32.31]
["13:34:12",32.31]
["13:35:12",32.06]
["13:36:12",31.87]
["13:37:12",31.75]
["13:38:12",32.19]
["13:39:12",32.630000000000003]
["13:40:12",32.5]
["13:41:12",32]
["13:42:12",31.94]
["13:43:12",31.62]
["13:44:12",31.5]
["13:45:12",32]
["13:46:12",32]
["13:47:12",32.19]
["13:48:12",32.31]
["13:49:12",32.06]
["13:50:12",32.31]
["13:51:12",32.44]
["13:52:12",32.5]
["13:53:12",32.25]
["13:54:12",32.25]
["13:55:12",32.380000000000003]
["13:56:12",32.5]
["13:57:11",32.630000000000003]
["13:58:11",32.81]
["13:59:11",32.380000000000003]
["14:00:11",32]
["14:01:11",31.87]
["14:02:11",32.5]
["14:03:11",32.75]
["14:04:11",33]
["14:05:11",32.94]
["14:06:11",32.44]
["14:07:11",32.44]
["14:08:11",32.880000000000003]
["14:09:11",33]
["14:10:11",32.94]
["14:11:11",33.380000000000003]
["14:12:11",33]
["14:13:11",32.75]
["14:14:11",32.75]
["14:15:11",33.25]
["14:16:11",33.19]
["14:17:11",33.06]
["14:18:11",33.06]
["14:19:11",32.75]
["14:20:11",32.94]
["14:21:11",32.56]
["14:22:11",32.06]
["14:23:11",32.44]
["14:24:11",32.69]
["14:25:11",32.56]
["14:26:11",32.630000000000003]
["14:27:11",32.75]
["14:28:11",32.880000000000003]
["14:29:11",32.69]
["14:30:11",31.94]
["14:31:11",31.75]
["14:32:11",31.94]
["14:33:11",31.62]
["14:34:10",31.81]
["14:35:11",31.87]
["14:36:10",32]
["14:37:10",32.06]
["14:38:10",32.130000000000003]
["14:39:10",31.81]
["14:40:10",31.69]
["14:41:10",31.81]
["14:42:10",31.81]
["14:43:10",31.94]
["14:44:10",32.130000000000003]
["14:45:10",32.25]
["14:46:10",31.62]
["14:47:10",31.94]
["14:48:10",31.81]
["14:49:10",31.81]
["14:50:10",31.81]
["14:51:10",31.75]
["14:52:10",31.56]
["14:53:10",31.62]
["14:54:10",31.69]
["14:55:10",31.37]
["14:56:10",31.31]
["14:57:10",30.94]
["14:58:10",31.12]
["14:59:10",31.44]
["15:00:10",31.5]
["15:01:10",31.5]
["15:02:10",31.44]
["15:03:10",31.44]
["15:04:10",31.56]
["15:05:10",31.37]
["15:06:10",30.75]
["15:07:10",30.62]
["15:08:10",30.62]
["15:09:10",30.31]
["15:10:10",30.56]
["15:11:10",30.62]
["15:12:10",30.75]
["15:13:10",30.87]
["15:14:10",30.75]
["15:15:10",30.31]
["15:16:10",30.25]
["15:17:10",30.44]
["15:18:10",30.56]
["15:19:10",30.69]
["15:20:10",30.75]
["15:21:10",30.87]
["15:22:10",30.75]
["15:23:09",30.69]
["15:24:09",30.37]
["15:25:09",30.44]
["15:26:09",30.37]
["15:27:09",30.31]
["15:28:09",29.94]
["15:29:09",30.19]
["15:30:09",30.31]
["15:31:09",30.5]
["15:32:09",30.31]

{"sheet":"Plan1","index":2,"n_rows":93,"n_cols":38,"rows_kept":93,"cut":false,"hidden":false,"merged":[]}
["ba ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,"R"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,3]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Última Temperatura:",{"$f":"INDEX('Simple Data'!B:B, COUNTA('Simple Data'!B:B))","v":30.31},{"$f":"INDEX('Simple Data'!A:A, COUNTA('Simple Data'!A:A))","v":"15:32:09"}]

{"sheet":"Planilha1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}