{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Gráf1","Simple Data","Plan1","Planilha1"],"not_rendered":{"charts":4,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Gráf1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Simple Data","index":1,"n_rows":629,"n_cols":3,"rows_kept":629,"cut":false,"hidden":false,"merged":[]}
["Time","Temperature (C)"," Humidity (%)"]
["06:49:34",13.69]
["06:50:34",13.75]
["06:51:34",13.75]
["06:52:34",13.75]
["06:53:34",13.75]
["06:54:34",13.81]
["06:55:34",13.81]
["06:56:34",13.75]
["06:57:33",13.75]
["06:58:33",13.81]
["06:59:33",13.81]
["07:00:33",13.81]
["07:01:33",13.88]
["07:02:33",13.81]
["07:03:33",13.81]
["07:04:33",13.88]
["07:05:33",13.88]
["07:06:33",13.81]
["07:07:33",13.88]
["07:08:33",13.88]
["07:09:33",13.88]
["07:10:33",13.88]
["07:11:33",13.88]
["07:12:33",13.88]
["07:13:33",13.94]
["07:14:33",13.88]
["07:15:33",13.88]
["07:16:33",13.88]
["07:17:33",13.88]
["07:18:33",13.81]
["07:19:33",13.88]
["07:20:33",13.88]
["07:21:33",13.88]
["07:22:33",13.88]
["07:23:33",13.88]
["07:24:33",13.88]
["07:25:33",13.88]
["07:26:33",13.94]
["07:27:33",13.94]
["07:28:33",13.94]
["07:29:33",13.94]
["07:30:33",13.88]
["07:31:33",13.94]
["07:32:33",13.94]
["07:33:33",14]
["07:34:33",14]
["07:35:33",14]
["07:36:33",14]
["07:37:33",13.94]
["07:38:32",14]
["07:39:32",14]
["07:40:32",14]
["07:41:32",14]
["07:42:32",13.94]
["07:43:32",14]
["07:44:32",14]
["07:45:32",14]
["07:46:32",13.94]
["07:47:32",14]
["07:48:32",14.06]
["07:49:32",14.06]
["07:50:32",14]
["07:51:32",14.06]
["07:52:32",14.06]
["07:53:32",14.06]
["07:54:32",14.06]
["07:55:32",14.06]
["07:56:32",14.06]
["07:57:32",14.13]
["07:58:32",14.13]
["07:59:32",14.13]
["08:00:32",14.13]
["08:01:32",14.06]
["08:02:32",14.13]
["08:03:32",14.13]
["08:04:32",14.13]
["08:05:32",14.13]
["08:06:32",14.19]
["08:07:32",14.19]
["08:08:32",14.13]
["08:09:32",14.19]
["08:10:32",14.19]
["08:11:32",14.25]
["08:12:32",14.25]
["08:13:32",14.31]
["08:14:32",14.31]
["08:15:32",14.38]
["08:16:32",14.38]
["08:17:32",14.31]
["08:18:31",14.31]
["08:19:31",14.38]
["08:20:31",14.38]
["08:21:31",14.31]
["08:22:31",14.44]
["08:23:31",14.38]
["08:24:31",14.31]
["08:25:31",14.31]
["08:26:31",14.38]
["08:27:31",14.31]
["08:28:31",14.31]
["08:29:31",14.31]
["08:30:31",14.31]
["08:31:31",14.31]
["08:32:31",14.38]
["08:33:31",14.38]
["08:34:31",14.38]
["08:35:31",14.44]
["08:36:31",14.44]
["08:37:31",14.44]
["08:38:31",14.44]
["08:39:31",14.44]
["08:40:31",14.44]
["08:41:31",14.44]
["08:42:31",14.44]
["08:43:31",14.44]
["08:44:31",14.44]
["08:45:31",14.44]
["08:46:31",14.5]
["08:47:31",14.44]
["08:48:31",14.5]
["08:49:31",14.5]
["08:50:31",14.56]
["08:51:31",14.56]
["08:52:31",14.63]
["08:53:31",14.63]
["08:54:31",14.69]
["08:55:31",14.69]
["08:56:31",14.81]
["08:57:31",14.88]
["08:58:31",14.94]
["08:59:31",14.94]
["09:00:30",14.94]
["09:01:30",14.94]
["09:02:30",14.94]
["09:03:30",14.94]
["09:04:30",14.94]
["09:05:30",15]
["09:06:30",14.94]
["09:07:30",14.94]
["09:08:30",14.94]
["09:09:30",15.06]
["09:10:30",15.06]
["09:11:30",15.13]
["09:12:30",15.13]
["09:13:30",15.13]
["09:14:30",15.13]
["09:15:30",15.13]
["09:16:30",15.13]
["09:17:30",15.19]
["09:18:30",15.25]
["09:19:30",15.31]
["09:20:30",15.31]
["09:21:30",15.38]
["09:22:30",15.38]
["09:23:30",15.44]
["09:24:30",15.5]
["09:25:30",15.5]
["09:26:30",15.5]
["09:27:30",15.44]
["09:28:30",15.5]
["09:29:30",15.5]
["09:30:30",15.5]
["09:31:30",15.5]
["09:32:30",15.63]
["09:33:30",15.75]
["09:34:30",15.81]
["09:35:30",16]
["09:36:30",16.059999999999999]
["09:37:30",16.12]
["09:38:30",16.25]
["09:39:30",16.25]
["09:40:30",16.25]
["09:41:30",16.25]
["09:42:30",16.309999999999999]
["09:43:29",16.37]
["09:44:29",16.559999999999999]
["09:45:29",16.62]
["09:46:29",16.75]
["09:47:29",16.75]
["09:48:29",16.809999999999999]
["09:49:29",16.87]
["09:50:29",17]
["09:51:29",17.059999999999999]
["09:52:29",17.12]
["09:53:29",17.12]
["09:54:29",17.12]
["09:55:29",17.12]
["09:56:29",17.12]
["09:57:29",17.190000000000001]
["09:58:29",17.25]
["09:59:29",17.25]
["10:00:29",17.309999999999999]
["10:01:29",17.37]
["10:02:29",17.440000000000001]
["10:03:29",17.440000000000001]
["10:04:29",17.440000000000001]
["10:05:29",17.5]
["10:06:29",17.5]
["10:07:29",17.559999999999999]
["10:08:29",17.62]
["10:09:29",17.62]
["10:10:29",17.75]
["10:11:29",17.75]
["10:12:29",17.690000000000001]
["10:13:29",17.75]
["10:14:29",17.690000000000001]
["10:15:29",17.75]
["10:16:29",17.75]
["10:17:29",17.87]
["10:18:29",17.940000000000001]
["10:19:29",17.940000000000001]
["10:20:29",18]
["10:21:29",18]
["10:22:29",18.059999999999999]
["10:23:29",18.059999999999999]
["10:24:29",18.190000000000001]
["10:25:29",18.25]
["10:26:29",18.25]
["10:27:29",18.25]
["10:28:28",18.309999999999999]
["10:29:28",18.309999999999999]
["10:30:28",18.309999999999999]
["10:31:28",18.37]
["10:32:28",18.37]
["10:33:28",18.440000000000001]
["10:34:28",18.440000000000001]
["10:35:28",18.37]
["10:36:28",18.37]
["10:37:28",18.440000000000001]
["10:38:28",18.37]
["10:39:28",18.440000000000001]
["10:40:28",18.5]
["10:41:28",18.5]
["10:42:28",18.559999999999999]
["10:43:28",18.559999999999999]
["10:44:28",18.559999999999999]
["10:45:28",18.5]
["10:46:28",18.5]
["10:47:28",18.5]
["10:48:28",18.5]
["10:49:28",18.5]
["10:50:28",18.62]
["10:51:28",18.690000000000001]
["10:52:28",18.75]
["10:53:28",18.809999999999999]
["10:54:28",18.87]
["10:55:28",19]
["10:56:28",19.12]
["10:57:28",19.12]
["10:58:28",19.12]
["10:59:28",19.190000000000001]
["11:00:28",19.25]
["11:01:28",19.25]
["11:02:28",19.25]
["11:03:28",19.309999999999999]
["11:04:28",19.37]
["11:05:28",19.440000000000001]
["11:06:28",19.5]
["11:07:28",19.5]
["11:08:28",19.559999999999999]
["11:09:28",19.559999999999999]
["11:10:28",19.690000000000001]
["11:11:28",19.690000000000001]
["11:12:28",19.75]
["11:13:28",19.75]
["11:14:27",19.75]
["11:15:27",19.75]
["11:16:27",19.809999999999999]
["11:17:27",19.809999999999999]
["11:18:27",19.87]
["11:19:27",19.809999999999999]
["11:20:27",19.809999999999999]
["11:21:27",19.809999999999999]
["11:22:27",19.809999999999999]
["11:23:27",19.809999999999999]
["11:24:27",19.809999999999999]
["11:25:27",19.809999999999999]
["11:26:27",19.809999999999999]
["11:27:27",19.809999999999999]
["11:28:27",19.940000000000001]
["11:29:27",19.940000000000001]
["11:30:27",20]
["11:31:27",19.940000000000001]
["11:32:27",20]
["11:33:27",20]
["11:34:27",20.12]
["11:35:27",20.12]
["11:36:27",20.12]
["11:37:27",20.25]
["11:38:27",20.25]
["11:39:27",20.37]
["11:40:27",20.37]
["11:41:27",20.440000000000001]
["11:42:27",20.5]
["11:43:27",20.5]
["11:44:27",20.56]
["11:45:27",20.62]
["11:46:27",20.69]
["11:47:27",20.62]
["11:48:27",20.69]
["11:49:27",20.87]
["11:50:27",20.87]
["11:51:27",20.87]
["11:52:27",20.87]
["11:53:27",20.87]
["11:54:27",21.06]
["11:55:27",21]
["11:56:27",21.06]
["11:57:27",21.19]
["11:58:27",21.19]
["11:59:27",21.19]
["12:00:27",21.25]
["12:01:27",21.25]
["12:02:26",21.37]
["12:03:26",21.5]
["12:04:26",21.69]
["12:05:26",21.81]
["12:06:26",22.06]
["12:07:26",22.31]
["12:08:26",22.5]
["12:09:26",22.69]
["12:10:26",22.81]
["12:11:26",22.81]
["12:12:26",22.75]
["12:13:26",22.69]
["12:14:26",22.62]
["12:15:26",22.44]
["12:16:26",22.31]
["12:17:26",22.25]
["12:18:26",22.19]
["12:19:26",22.25]
["12:20:26",22.25]
["12:21:26",22.31]
["12:22:26",22.37]
["12:23:26",22.37]
["12:24:26",22.5]
["12:25:26",22.5]
["12:26:26",22.62]
["12:27:26",22.75]
["12:28:26",22.87]
["12:29:26",22.94]
["12:30:26",22.94]
["12:31:26",22.75]
["12:32:26",22.56]
["12:33:26",22.25]
["12:34:26",22.06]
["12:35:26",21.94]
["12:36:26",21.87]
["12:37:26",21.87]
["12:38:26",21.87]
["12:39:26",21.94]
["12:40:26",21.81]
["12:41:26",21.75]
["12:42:26",21.69]
["12:43:26",21.75]
["12:44:26",21.69]
["12:45:26",21.69]
["12:46:26",21.81]
["12:47:26",21.87]
["12:48:26",22]
["12:49:26",21.94]
["12:50:26",21.94]
["12:51:26",21.87]
["12:52:26",21.94]
["12:53:26",22.06]
["12:54:25",22.06]
["12:55:25",22.19]
["12:56:25",22.12]
["12:57:25",22.12]
["12:58:25",22.25]
["12:59:25",22.31]
["13:00:25",22.37]
["13:01:25",22.44]
["13:02:25",22.56]
["13:03:25",22.69]
["13:04:25",22.75]
["13:05:25",22.87]
["13:06:25",22.87]
["13:07:25",23.06]
["13:08:25",23.06]
["13:09:25",23]
["13:10:25",23.12]
["13:11:25",23.06]
["13:12:25",23.06]
["13:13:25",23]
["13:14:25",23.12]
["13:15:25",23.25]
["13:16:25",23.25]
["13:17:25",23.25]
["13:18:25",23.25]
["13:19:25",23.25]
["13:20:25",23.25]
["13:21:25",23.31]
["13:22:25",23.37]
["13:23:25",23.62]
["13:24:25",23.56]
["13:25:25",23.5]
["13:26:25",23.56]
["13:27:25",23.62]
["13:28:25",23.5]
["13:29:25",23.5]
["13:30:25",23.5]
["13:31:25",23.5]
["13:32:25",23.5]
["13:33:25",23.5]
["13:34:25",23.56]
["13:35:25",23.87]
["13:36:25",24.06]
["13:37:25",24.25]
["13:38:25",24.31]
["13:39:25",24.37]
["13:40:25",24.44]
["13:41:25",24.31]
["13:42:25",24.31]
["13:43:25",24.31]
["13:44:25",24.31]
["13:45:25",24.19]
["13:46:25",24.12]
["13:47:25",24.06]
["13:48:25",24.06]
["13:49:25",23.94]
["13:50:24",23.94]
["13:51:24",23.94]
["13:52:24",23.94]
["13:53:24",23.94]
["13:54:24",24]
["13:55:24",24.06]
["13:56:24",24.12]
["13:57:24",24.19]
["13:58:24",24.25]
["13:59:24",24.31]
["14:00:24",24.37]
["14:01:24",24.37]
["14:02:24",24.31]
["14:03:24",24.31]
["14:04:24",24.25]
["14:05:24",24.19]
["14:06:24",24.19]
["14:07:24",24.19]
["14:08:24",24.31]
["14:09:24",24.37]
["14:10:24",24.37]
["14:11:24",24.19]
["14:12:24",24.12]
["14:13:24",24]
["14:14:24",23.87]
["14:15:24",23.87]
["14:16:24",23.87]
["14:17:24",23.94]
["14:18:24",23.87]
["14:19:24",23.81]
["14:20:24",23.81]
["14:21:24",23.87]
["14:22:24",24]
["14:23:24",24.06]
["14:24:24",24.12]
["14:25:24",24.25]
["14:26:24",24.44]
["14:27:24",24.5]
["14:28:24",24.56]
["14:29:24",24.44]
["14:30:24",24.31]
["14:31:24",24.25]
["14:32:24",24.31]
["14:33:24",24.31]
["14:34:24",24.31]
["14:35:24",24.37]
["14:36:24",24.37]
["14:37:24",24.44]
["14:38:24",24.37]
["14:39:24",24.37]
["14:40:24",24.31]
["14:41:24",24.25]
["14:42:24",24.19]
["14:43:24",24.06]
["14:44:23",24]
["14:45:23",24]
["14:46:23",23.94]
["14:47:23",23.87]
["14:48:23",23.87]
["14:49:23",23.87]
["14:50:23",23.94]
["14:51:23",24.06]
["14:52:23",24.06]
["14:53:23",24.06]
["14:54:23",24.06]
["14:55:23",24]
["14:56:23",23.94]
["14:57:23",23.87]
["14:58:23",23.69]
["14:59:23",23.62]
["15:00:23",23.56]
["15:01:23",23.62]
["15:02:23",23.62]
["15:03:23",23.56]
["15:04:23",23.56]
["15:05:23",23.37]
["15:06:23",23.37]
["15:07:23",23.25]
["15:08:23",23.12]
["15:09:23",23.06]
["15:10:23",23.06]
["15:11:23",23]
["15:12:23",23]
["15:13:23",22.94]
["15:14:23",22.81]
["15:15:23",22.81]
["15:16:23",22.81]
["15:17:23",22.87]
["15:18:23",22.94]
["15:19:23",22.87]
["15:20:23",22.87]
["15:21:23",22.81]
["15:22:23",22.69]
["15:23:23",22.69]
["15:24:23",22.56]
["15:25:23",22.56]
["15:26:23",22.56]
["15:27:23",22.56]
["15:28:23",22.56]
["15:29:23",22.62]
["15:30:23",22.62]
["15:31:23",22.56]
["15:32:23",22.56]
["15:33:23",22.56]
["15:34:23",22.5]
["15:35:23",22.44]
["15:36:23",22.37]
["15:37:23",22.37]
["15:38:22",22.31]
["15:39:22",22.25]
["15:40:22",22.19]
["15:41:22",22.12]
["15:42:22",22]
["15:43:22",21.94]
["15:44:22",21.87]
["15:45:22",21.87]
["15:46:22",21.81]
["15:47:22",21.81]
["15:48:22",21.69]
["15:49:22",21.75]
["15:50:22",21.75]
["15:51:22",21.69]
["15:52:22",21.56]
["15:53:22",21.44]
["15:54:22",21.37]
["15:55:22",21.5]
["15:56:22",21.5]
["15:57:22",21.5]
["15:58:22",21.44]
["15:59:22",21.44]
["16:00:22",21.5]
["16:01:22",21.44]
["16:02:22",21.37]
["16:03:22",21.31]
["16:04:22",21.31]
["16:05:22",21.19]
["16:06:22",21.12]
["16:07:22",21.06]
["16:08:22",21.06]
["16:09:22",21.06]
["16:10:22",21.12]
["16:11:22",21.12]
["16:12:22",21.06]
["16:13:22",21]
["16:14:22",20.87]
["16:15:22",20.75]
["16:16:22",20.69]
["16:17:22",20.62]
["16:18:22",20.56]
["16:19:22",20.62]
["16:20:22",20.56]
["16:21:22",20.5]
["16:22:22",20.440000000000001]
["16:23:22",20.309999999999999]
["16:24:22",20.309999999999999]
["16:25:22",20.25]
["16:26:22",20.12]
["16:27:22",20.059999999999999]
["16:28:22",20]
["16:29:22",19.940000000000001]
["16:30:22",19.809999999999999]
["16:31:22",19.75]
["16:32:21",19.690000000000001]
["16:33:21",19.62]
["16:34:21",19.5]
["16:35:21",19.5]
["16:36:21",19.440000000000001]
["16:37:21",19.190000000000001]
["16:38:21",19.059999999999999]
["16:39:21",19]
["16:40:21",18.87]
["16:41:21",18.809999999999999]
["16:42:21",18.690000000000001]
["16:43:21",18.62]
["16:44:21",18.62]
["16:45:21",18.559999999999999]
["16:46:21",18.440000000000001]
["16:47:21",18.309999999999999]
["16:48:21",18.190000000000001]
["16:49:21",18.12]
["16:50:21",18]
["16:51:21",17.940000000000001]
["16:52:21",17.87]
["16:53:21",17.87]
["16:54:21",17.87]
["16:55:21",17.75]
["16:56:21",17.62]
["16:57:21",17.559999999999999]
["16:58:21",17.559999999999999]
["16:59:21",17.440000000000001]
["17:00:21",17.5]
["17:01:21",17.37]
["17:02:21",17.309999999999999]
["17:03:21",17.25]
["17:04:21",17.190000000000001]
["17:05:21",17.12]
["17:06:21",17.059999999999999]
["17:07:21",17]
["17:08:21",17]
["17:09:21",17]
["17:10:21",16.940000000000001]
["17:11:21",16.87]
["17:12:21",16.940000000000001]
["17:13:21",16.87]
["17:14:21",16.87]
["17:15:21",16.809999999999999]
["17:16:21",16.75]

{"sheet":"Plan1","index":2,"n_rows":93,"n_cols":38,"rows_kept":93,"cut":false,"hidden":false,"merged":[]}
["ba ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"",null,null,null,null,null,"R"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,3]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Última Temperatura:",{"$f":"INDEX('Simple Data'!B:B, COUNTA('Simple Data'!B:B))","v":16.75},{"$f":"INDEX('Simple Data'!A:A, COUNTA('Simple Data'!A:A))","v":"17:16:21"}]

{"sheet":"Planilha1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}