{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Gráf1","Simple Data","Plan1","Planilha1"],"not_rendered":{"charts":4,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Gráf1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Simple Data","index":1,"n_rows":546,"n_cols":3,"rows_kept":546,"cut":false,"hidden":false,"merged":[]}
["Time","Temperature (C)"," Humidity (%)"]
["08:21:17",22.75]
["08:22:00",22.39]
["08:23:17",22.37]
["08:24:17",22.31]
["08:25:17",22.31]
["08:26:17",22.62]
["08:27:17",22.87]
["08:28:17",24.5]
["08:29:17",26.12]
["08:30:17",26.94]
["08:31:17",27.31]
["08:32:17",27.37]
["08:33:17",27.37]
["08:34:17",26.06]
["08:35:16",25.12]
["08:36:16",24.75]
["08:37:16",24.69]
["08:38:16",24.37]
["08:39:16",24.25]
["08:40:16",24.06]
["08:41:16",23.94]
["08:42:16",23.75]
["08:43:16",23.69]
["08:44:16",23.62]
["08:45:16",23.75]
["08:46:16",24]
["08:47:16",24.12]
["08:48:16",24.19]
["08:49:16",24.31]
["08:50:16",24.56]
["08:51:16",24.75]
["08:52:16",24.81]
["08:53:16",24.87]
["08:54:16",24.81]
["08:55:16",24.81]
["08:56:16",24.94]
["08:57:16",24.87]
["08:58:16",24.69]
["08:59:16",24.37]
["09:00:16",24.12]
["09:01:16",24.12]
["09:02:16",24.06]
["09:03:16",24.25]
["09:04:16",24.44]
["09:05:16",24.44]
["09:06:16",25.37]
["09:07:16",25.62]
["09:08:15",26.69]
["09:09:15",27.56]
["09:10:15",27.19]
["09:11:15",26.87]
["09:12:15",26.25]
["09:13:15",25.69]
["09:14:15",25.31]
["09:15:15",24.94]
["09:16:15",24.5]
["09:17:15",24.19]
["09:18:15",23.87]
["09:19:15",23.62]
["09:20:15",23.5]
["09:21:15",23.37]
["09:22:15",23.25]
["09:23:15",23.25]
["09:24:15",23.19]
["09:25:15",23.31]
["09:26:15",23.31]
["09:27:15",23.31]
["09:28:15",23.44]
["09:29:15",23.56]
["09:30:15",23.62]
["09:31:15",23.75]
["09:32:15",23.81]
["09:33:15",23.94]
["09:34:15",24.06]
["09:35:15",24.25]
["09:36:15",24.19]
["09:37:15",24.12]
["09:38:15",24.06]
["09:39:15",24.12]
["09:40:15",24.12]
["09:41:15",24.19]
["09:42:15",24.37]
["09:43:14",24.5]
["09:44:14",24.62]
["09:45:14",24.69]
["09:46:14",24.75]
["09:47:14",24.94]
["09:48:14",25.06]
["09:49:14",25.25]
["09:50:14",25.31]
["09:51:14",25.5]
["09:52:14",25.5]
["09:53:14",25.56]
["09:54:14",25.5]
["09:55:14",25.44]
["09:56:14",25.37]
["09:57:14",25.37]
["09:58:14",25.37]
["09:59:14",25.5]
["10:00:14",25.37]
["10:01:14",25.31]
["10:02:14",25.25]
["10:03:14",25.19]
["10:04:14",25.12]
["10:05:14",25.12]
["10:06:14",25]
["10:07:14",24.81]
["10:08:14",24.69]
["10:09:14",24.69]
["10:10:14",24.69]
["10:11:14",24.62]
["10:12:14",24.62]
["10:13:14",24.62]
["10:14:14",24.62]
["10:15:14",24.62]
["10:16:13",24.75]
["10:17:13",24.94]
["10:18:13",25.19]
["10:19:13",25.56]
["10:20:13",26.06]
["10:21:13",26.81]
["10:22:13",28.12]
["10:23:13",28.62]
["10:24:13",28.62]
["10:25:13",28.31]
["10:26:13",28]
["10:27:14",28.25]
["10:28:13",28.44]
["10:29:13",28.81]
["10:30:13",29.56]
["10:31:13",29.94]
["10:32:14",30.31]
["10:33:13",30.44]
["10:34:13",30.25]
["10:35:13",30]
["10:36:13",29.69]
["10:37:13",29.75]
["10:38:13",29.62]
["10:39:13",29.62]
["10:40:13",29.56]
["10:41:13",29.5]
["10:42:13",29.37]
["10:43:13",29.25]
["10:44:13",29.19]
["10:45:13",29.19]
["10:46:13",29.25]
["10:47:13",30.37]
["10:48:13",31.31]
["10:49:13",31.06]
["10:50:13",31.31]
["10:51:12",30.5]
["10:52:12",30.25]
["10:53:12",30]
["10:54:12",29.94]
["10:55:12",29.69]
["10:56:12",29.81]
["10:57:12",29.87]
["10:58:12",29.56]
["10:59:12",29.31]
["11:00:12",29.06]
["11:01:12",28.81]
["11:02:12",28.62]
["11:03:12",28.5]
["11:04:12",28.25]
["11:05:12",28.25]
["11:06:12",28.25]
["11:07:12",28.25]
["11:08:12",28.25]
["11:09:12",28.37]
["11:10:12",28.44]
["11:11:12",28.44]
["11:12:12",28.5]
["11:13:12",28.37]
["11:14:12",28.44]
["11:15:12",28.5]
["11:16:12",28.62]
["11:17:12",28.56]
["11:18:12",28.62]
["11:19:12",28.75]
["11:20:12",28.62]
["11:21:12",28.44]
["11:22:12",28.31]
["11:23:12",28.06]
["11:24:12",28.06]
["11:25:12",28.06]
["11:26:11",28.12]
["11:27:11",28.37]
["11:28:11",28.56]
["11:29:11",28.87]
["11:30:11",29.12]
["11:31:11",29.12]
["11:32:11",29.12]
["11:33:11",29.19]
["11:34:11",30.19]
["11:35:11",31.44]
["11:36:11",34.19]
["11:37:11",36]
["11:38:11",37.25]
["11:39:11",37.56]
["11:40:11",38.25]
["11:41:11",38.56]
["11:42:11",39.25]
["11:43:11",39.94]
["11:44:11",39.69]
["11:45:11",39.880000000000003]
["11:46:11",37.5]
["11:47:11",39.44]
["11:48:11",39.75]
["11:49:11",41.31]
["11:50:11",42.25]
["11:51:11",42.56]
["11:52:11",43.19]
["11:53:11",43.63]
["11:54:11",43.75]
["11:55:11",44.06]
["11:56:11",44.56]
["11:57:11",45.31]
["11:58:11",45.31]
["11:59:11",45.69]
["12:00:10",46.69]
["12:01:10",46]
["12:02:10",46]
["12:03:10",46.09]
["12:04:10",46.63]
["12:05:10",40.25]
["12:06:10",38.630000000000003]
["12:07:10",37.56]
["12:08:10",37.06]
["12:09:10",36.44]
["12:10:10",36]
["12:11:10",35.94]
["12:12:10",35.44]
["12:13:10",35.44]
["12:14:10",35.19]
["12:15:10",35.06]
["12:16:10",34.75]
["12:17:10",34.69]
["12:18:10",34.56]
["12:19:10",34.380000000000003]
["12:20:10",34]
["12:21:10",33.69]
["12:22:10",33.380000000000003]
["12:23:10",33.31]
["12:24:10",33.06]
["12:25:10",33.06]
["12:26:10",33.06]
["12:27:10",32.5]
["12:28:10",32.5]
["12:29:10",32.5]
["12:30:10",32.380000000000003]
["12:31:10",32.130000000000003]
["12:32:10",31.94]
["12:33:10",31.87]
["12:34:09",32.06]
["12:35:09",32.06]
["12:36:09",32]
["12:37:09",31.94]
["12:38:09",31.81]
["12:39:09",32]
["12:40:09",32.25]
["12:41:09",32.5]
["12:42:09",33.06]
["12:43:09",35.19]
["12:44:09",38.31]
["12:45:09",41.19]
["12:46:09",41.19]
["12:47:09",43]
["12:48:09",40.94]
["12:49:09",39.06]
["12:50:09",38.31]
["12:51:09",37.19]
["12:52:09",38.31]
["12:53:09",38.5]
["12:54:09",38.5]
["12:55:09",37.630000000000003]
["12:56:09",37.5]
["12:57:09",36.5]
["12:58:09",35.69]
["12:59:09",35.25]
["13:00:09",35]
["13:01:09",36.380000000000003]
["13:02:09",37.630000000000003]
["13:03:09",37.5]
["13:04:09",38.130000000000003]
["13:05:09",39.44]
["13:06:09",40.44]
["13:07:09",39.19]
["13:08:08",39.19]
["13:09:08",40.25]
["13:10:08",43.44]
["13:11:08",44.44]
["13:12:08",44.81]
["13:13:08",44.81]
["13:14:08",45]
["13:15:08",45.56]
["13:16:08",45.94]
["13:17:08",46.56]
["13:18:08",46.56]
["13:19:08",46.44]
["13:20:08",45.38]
["13:21:08",43.63]
["13:22:08",41.44]
["13:23:08",41.13]
["13:24:08",41.31]
["13:25:08",39.630000000000003]
["13:26:08",38.75]
["13:27:08",37.880000000000003]
["13:28:08",37.25]
["13:29:08",36.56]
["13:30:08",36.25]
["13:31:08",35.880000000000003]
["13:32:08",35.75]
["13:33:08",35.44]
["13:34:08",35.94]
["13:35:08",36.31]
["13:36:08",36.31]
["13:37:08",36]
["13:38:08",35.75]
["13:39:08",36.19]
["13:40:08",37.630000000000003]
["13:41:08",37.69]
["13:42:07",37.880000000000003]
["13:43:07",39.06]
["13:44:07",38.31]
["13:45:07",37.44]
["13:46:07",37.130000000000003]
["13:47:07",36.380000000000003]
["13:48:07",35.69]
["13:49:07",35.06]
["13:50:07",34.31]
["13:51:07",33.75]
["13:52:07",33.56]
["13:53:07",33.31]
["13:54:07",33.06]
["13:55:07",32.56]
["13:56:07",32.56]
["13:57:07",32.630000000000003]
["13:58:07",35.06]
["13:59:07",36.56]
["14:00:07",36.130000000000003]
["14:01:07",35.880000000000003]
["14:02:07",35.31]
["14:03:07",34.94]
["14:04:07",34.94]
["14:05:07",34.81]
["14:06:07",34.31]
["14:07:07",36.25]
["14:08:07",38.630000000000003]
["14:09:07",37.5]
["14:10:07",36.81]
["14:11:07",35.81]
["14:12:07",35.44]
["14:13:07",34.630000000000003]
["14:14:07",34]
["14:15:07",33.380000000000003]
["14:16:07",33]
["14:17:06",32.56]
["14:18:06",32.19]
["14:19:06",31.87]
["14:20:06",31.87]
["14:21:06",31.44]
["14:22:06",31.44]
["14:23:06",31.44]
["14:24:06",31.31]
["14:25:06",31.19]
["14:26:06",31]
["14:27:06",31.12]
["14:28:06",31.06]
["14:29:06",31.12]
["14:30:06",31.12]
["14:31:06",31.62]
["14:32:06",32]
["14:33:06",32.19]
["14:34:06",32.56]
["14:35:06",33.19]
["14:36:06",33.25]
["14:37:06",33.380000000000003]
["14:38:06",33.130000000000003]
["14:39:06",33.130000000000003]
["14:40:06",33.69]
["14:41:06",34.69]
["14:42:06",34.94]
["14:43:06",35.31]
["14:44:06",34.56]
["14:45:06",35.380000000000003]
["14:46:06",35.31]
["14:47:06",34.75]
["14:48:06",35]
["14:49:06",34.56]
["14:50:06",34.56]
["14:51:06",36.31]
["14:52:06",38.380000000000003]
["14:53:06",37.81]
["14:54:05",36.31]
["14:55:05",36.31]
["14:56:05",35.130000000000003]
["14:57:05",34.380000000000003]
["14:58:05",35.5]
["14:59:05",35.94]
["15:00:05",35.69]
["15:01:05",35.5]
["15:02:05",34.69]
["15:03:05",34.19]
["15:04:05",33.44]
["15:05:05",33.44]
["15:06:05",33.19]
["15:07:05",33.31]
["15:08:05",33.06]
["15:09:05",33.380000000000003]
["15:10:05",33.31]
["15:11:05",32.75]
["15:12:05",32.31]
["15:13:05",32.06]
["15:14:05",31.87]
["15:15:05",31.87]
["15:16:05",31.81]
["15:17:05",31.75]
["15:18:05",32.25]
["15:19:05",32.880000000000003]
["15:20:05",33.81]
["15:21:05",34.19]
["15:22:05",36.44]
["15:23:05",37.25]
["15:24:05",38.81]
["15:25:05",39.630000000000003]
["15:26:05",38.06]
["15:27:05",36]
["15:28:05",35]
["15:29:05",34.81]
["15:30:05",34.69]
["15:31:05",33.880000000000003]
["15:32:04",33.5]
["15:33:04",33.5]
["15:34:04",33.81]
["15:35:04",34.25]
["15:36:04",35.94]
["15:37:04",37.81]
["15:38:04",39.06]
["15:39:04",40]
["15:40:04",39.69]
["15:41:04",39.130000000000003]
["15:42:04",38]
["15:43:04",39.130000000000003]
["15:44:04",39.69]
["15:45:04",40.25]
["15:46:04",40.56]
["15:47:04",41.13]
["15:48:04",41.38]
["15:49:04",41.75]
["15:50:04",42.31]
["15:51:04",42.44]
["15:52:04",42.13]
["15:53:04",42.31]
["15:54:04",42.69]
["15:55:04",42.81]
["15:56:04",43]
["15:57:04",43.38]
["15:58:04",41.5]
["15:59:04",42.06]
["16:00:04",42.31]
["16:01:04",42.31]
["16:02:04",42.31]
["16:03:04",42.94]
["16:04:04",42.94]
["16:05:04",43.25]
["16:06:04",43.25]
["16:07:04",43.31]
["16:08:04",43.19]
["16:09:04",43.5]
["16:10:04",43.81]
["16:11:04",42.44]
["16:12:04",40.380000000000003]
["16:13:04",40.75]
["16:14:04",42.19]
["16:15:04",42.63]
["16:16:04",43.19]
["16:17:04",43.63]
["16:18:03",44]
["16:19:03",44.69]
["16:20:03",44.38]
["16:21:03",44.44]
["16:22:03",43.19]
["16:23:03",42.19]
["16:24:03",43.63]
["16:25:03",44.63]
["16:26:03",45.31]
["16:27:03",45.19]
["16:28:03",44.5]
["16:29:03",44.69]
["16:30:03",45.13]
["16:31:03",45]
["16:32:03",45]
["16:33:03",44.94]
["16:34:03",44.63]
["16:35:03",44.75]
["16:36:03",44.81]
["16:37:03",44.63]
["16:38:03",44.5]
["16:39:03",44.5]
["16:40:03",43.94]
["16:41:03",43.44]
["16:42:03",43.13]
["16:43:03",43.63]
["16:44:03",44]
["16:45:03",44.25]
["16:46:03",44.06]
["16:47:03",44]
["16:48:03",43.94]
["16:49:03",43.44]
["16:50:03",42.94]
["16:51:03",42.75]
["16:52:03",42.69]
["16:53:03",42.5]
["16:54:03",42.56]
["16:55:03",42.56]
["16:56:03",42.63]
["16:57:03",42.69]
["16:58:03",42.5]
["16:59:03",42.25]
["17:00:03",41.94]
["17:01:03",41.31]
["17:02:03",41.31]
["17:03:03",41.19]
["17:04:03",40.94]
["17:05:03",41.06]
["17:06:03",41.44]
["17:07:03",41.38]
["17:08:03",41.5]
["17:09:03",41]
["17:10:03",40.69]
["17:11:03",40.81]
["17:12:03",40.56]
["17:13:03",40.25]
["17:14:03",40.5]
["17:15:03",40.25]
["17:16:03",40.380000000000003]
["17:17:02",39.880000000000003]
["17:18:02",39.880000000000003]
["17:19:02",40.06]
["17:20:02",40.19]
["17:21:02",40]
["17:22:02",40]
["17:23:02",39.94]
["17:24:02",39.94]
["17:25:02",40]

{"sheet":"Plan1","index":2,"n_rows":93,"n_cols":38,"rows_kept":93,"cut":false,"hidden":false,"merged":[]}
["ba ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"HH",null,"R"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,3]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Última Temperatura:",{"$f":"INDEX('Simple Data'!B:B, COUNTA('Simple Data'!B:B))","v":40},{"$f":"INDEX('Simple Data'!A:A, COUNTA('Simple Data'!A:A))","v":"17:25:02"}]

{"sheet":"Planilha1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}