{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Gráf1","Simple Data","Plan1","Planilha1"],"not_rendered":{"charts":4,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Gráf1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Simple Data","index":1,"n_rows":252,"n_cols":3,"rows_kept":252,"cut":false,"hidden":false,"merged":[]}
["Time","Temperature (C)"," Humidity (%)"]
["12:17:55",37]
["12:18:49",37.06]
["12:19:49",37.380000000000003]
["12:20:49",37.380000000000003]
["12:21:49",37.69]
["12:22:49",38.130000000000003]
["12:23:49",38.25]
["12:24:49",38.25]
["12:25:49",38.5]
["12:26:49",38.630000000000003]
["12:27:49",38.5]
["12:28:49",38.75]
["12:29:48",38.75]
["12:30:48",38.44]
["12:31:48",38.69]
["12:32:48",38.56]
["12:33:48",39.06]
["12:34:48",39.56]
["12:35:48",39.630000000000003]
["12:36:48",39.56]
["12:37:48",39.75]
["12:38:48",40.5]
["12:39:48",41.13]
["12:40:48",41.75]
["12:41:48",42.31]
["12:42:48",42.5]
["12:43:48",42.5]
["12:44:48",42.25]
["12:45:48",42.06]
["12:46:48",41.88]
["12:47:48",41.88]
["12:48:48",42.31]
["12:49:48",42.5]
["12:50:48",42.88]
["12:51:48",43.56]
["12:52:48",43.69]
["12:53:48",42.63]
["12:54:48",42]
["12:55:48",42.75]
["12:56:48",41.63]
["12:57:48",41.56]
["12:58:48",41.69]
["12:59:48",42.56]
["13:00:48",42.69]
["13:01:48",43.31]
["13:02:48",42.88]
["13:03:48",43.44]
["13:04:48",43.94]
["13:05:48",44.75]
["13:06:47",44.94]
["13:07:47",44.81]
["13:08:47",44.5]
["13:09:47",44.19]
["13:10:47",45]
["13:11:47",44.31]
["13:12:47",44.63]
["13:13:27",44.75]
["13:14:27",43.94]
["13:15:27",42.94]
["13:16:27",43.44]
["13:17:27",43.88]
["13:18:27",44.69]
["13:19:27",44.75]
["13:20:27",44.56]
["13:21:27",45.06]
["13:22:27",45.19]
["13:23:27",45.94]
["13:24:27",46.56]
["13:25:27",47]
["13:26:27",46.69]
["13:27:27",45.81]
["13:28:26",45.81]
["13:29:26",45.88]
["13:30:26",45.94]
["13:31:26",45.38]
["13:32:26",45.13]
["13:33:26",45.75]
["13:34:26",45.69]
["13:35:26",45.88]
["13:36:26",46.25]
["13:37:26",46.56]
["13:38:26",46.88]
["13:39:26",46.56]
["13:40:26",46.56]
["13:41:26",47.38]
["13:42:26",47.88]
["13:43:26",47.69]
["13:44:26",47.88]
["13:45:26",47.5]
["13:46:26",47.56]
["13:47:26",46.75]
["13:48:26",46.19]
["13:49:26",45.75]
["13:50:26",45.63]
["13:51:26",46.19]
["13:52:26",45.81]
["13:53:26",45.63]
["13:54:26",45.56]
["13:55:26",45]
["13:56:26",45.75]
["13:57:26",46.63]
["13:58:26",47.31]
["13:59:26",47.25]
["14:00:26",47.5]
["14:01:26",47.88]
["14:02:26",47.19]
["14:03:26",47.88]
["14:04:26",47.94]
["14:05:26",47.88]
["14:06:26",47.5]
["14:07:26",46.81]
["14:08:25",45.56]
["14:09:25",45.81]
["14:10:25",46.38]
["14:11:25",46.13]
["14:12:25",46.38]
["14:13:25",45.81]
["14:14:25",45.81]
["14:15:25",46.19]
["14:16:25",46.56]
["14:17:25",45.94]
["14:18:25",45.69]
["14:19:25",45.75]
["14:20:25",45.5]
["14:21:25",45.75]
["14:22:25",46.13]
["14:23:25",46.31]
["14:24:25",46.25]
["14:25:25",46.31]
["14:26:25",46.31]
["14:27:25",47.06]
["14:28:25",47.25]
["14:29:25",47.56]
["14:30:25",46.88]
["14:31:25",47.25]
["14:32:25",46.5]
["14:33:25",46.44]
["14:34:25",46.56]
["14:35:25",46.19]
["14:36:25",46.5]
["14:37:25",47]
["14:38:25",46.81]
["14:39:25",46.25]
["14:40:25",45.88]
["14:41:25",45.94]
["14:42:25",46.25]
["14:43:25",46.13]
["14:44:25",46.31]
["14:45:25",46.81]
["14:46:25",46.81]
["14:47:25",46.69]
["14:48:25",46.44]
["14:49:25",46.5]
["14:50:25",46.56]
["14:51:24",45.81]
["14:52:24",45.31]
["14:53:24",45.56]
["14:54:24",45.69]
["14:55:24",45.63]
["14:56:24",46]
["14:57:24",46.25]
["14:58:24",46.38]
["14:59:24",46.44]
["15:00:24",46]
["15:01:24",45.94]
["15:02:24",46.31]
["15:03:24",46.5]
["15:04:24",46.56]
["15:05:24",46.38]
["15:06:24",45.81]
["15:07:24",46.38]
["15:08:24",46.69]
["15:09:24",46.75]
["15:10:24",46.06]
["15:11:24",45.44]
["15:12:24",45.19]
["15:13:24",45.38]
["15:14:24",45.06]
["15:15:24",44.88]
["15:16:24",44.19]
["15:17:24",44.38]
["15:18:24",45.19]
["15:19:24",45.44]
["15:20:24",45.44]
["15:21:24",45.44]
["15:22:24",45.25]
["15:23:24",45.56]
["15:24:24",45.81]
["15:25:24",45.88]
["15:26:24",45.25]
["15:27:24",44.81]
["15:28:24",45.31]
["15:29:24",45.69]
["15:30:24",46]
["15:31:24",46.63]
["15:32:24",46.88]
["15:33:23",46.75]
["15:34:23",46.69]
["15:35:23",45.5]
["15:36:23",45.13]
["15:37:23",44.63]
["15:38:23",44.56]
["15:39:23",45.25]
["15:40:23",45.75]
["15:41:23",45.75]
["15:42:23",45.31]
["15:43:23",45.13]
["15:44:23",44.94]
["15:45:23",45.19]
["15:46:23",45.44]
["15:47:23",45.13]
["15:48:23",45.06]
["15:49:23",44.94]
["15:50:23",44.94]
["15:51:23",44.75]
["15:52:23",43.94]
["15:53:23",43.94]
["15:54:23",43.56]
["15:55:23",43.56]
["15:56:23",43.69]
["15:57:23",43.81]
["15:58:23",43.94]
["15:59:23",44]
["16:00:23",44.06]
["16:01:23",43.88]
["16:02:23",44.13]
["16:03:23",44.31]
["16:04:23",44.31]
["16:05:23",44.19]
["16:06:23",44]
["16:07:23",43.88]
["16:08:23",43.25]
["16:09:23",42.44]
["16:10:23",42.19]
["16:11:23",41.81]
["16:12:23",41.63]
["16:13:23",41.88]
["16:14:23",41.81]
["16:15:22",41.5]
["16:16:22",41.25]
["16:17:22",40.19]
["16:18:22",39.75]
["16:19:22",39.880000000000003]
["16:20:22",39.69]
["16:21:22",39.75]
["16:22:22",40]
["16:23:22",40]
["16:24:22",39.94]
["16:25:22",39.880000000000003]
["16:26:22",39.94]
["16:27:22",39.94]

{"sheet":"Plan1","index":2,"n_rows":93,"n_cols":38,"rows_kept":93,"cut":false,"hidden":false,"merged":[]}
["ba ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"HH",null,"R"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,3]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Última Temperatura:",{"$f":"INDEX('Simple Data'!B:B, COUNTA('Simple Data'!B:B))","v":39.94},{"$f":"INDEX('Simple Data'!A:A, COUNTA('Simple Data'!A:A))","v":"16:27:22"}]

{"sheet":"Planilha1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}