{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["Gráf1","Simple Data","Plan1","Planilha1"],"not_rendered":{"charts":4,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Gráf1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Simple Data","index":1,"n_rows":626,"n_cols":3,"rows_kept":626,"cut":false,"hidden":false,"merged":[]}
["Time","Temperature (C)"," Humidity (%)"]
["07:25:48",18.37]
["07:26:48",18.440000000000001]
["07:27:48",18.37]
["07:28:48",18.309999999999999]
["07:29:48",18.309999999999999]
["07:30:48",18.37]
["07:31:48",18.309999999999999]
["07:32:48",18.25]
["07:33:48",18.25]
["07:34:48",18.309999999999999]
["07:35:48",18.309999999999999]
["07:36:48",18.37]
["07:37:48",18.440000000000001]
["07:38:48",18.5]
["07:39:48",18.440000000000001]
["07:40:47",18.5]
["07:41:47",18.62]
["07:42:47",18.75]
["07:43:47",18.87]
["07:44:47",18.87]
["07:45:47",18.940000000000001]
["07:46:47",19]
["07:47:47",19.12]
["07:48:47",19.190000000000001]
["07:49:47",19.059999999999999]
["07:50:47",19.059999999999999]
["07:51:47",19.059999999999999]
["07:52:47",19.059999999999999]
["07:53:47",19.059999999999999]
["07:54:47",19.12]
["07:55:47",19.25]
["07:56:47",19.440000000000001]
["07:57:47",19.5]
["07:58:47",19.940000000000001]
["07:59:47",20.190000000000001]
["08:00:47",20.12]
["08:01:47",20.059999999999999]
["08:02:47",19.87]
["08:03:47",19.87]
["08:04:47",19.87]
["08:05:47",20.12]
["08:06:47",20.190000000000001]
["08:07:47",20]
["08:08:47",19.87]
["08:09:47",19.87]
["08:10:47",19.87]
["08:11:47",19.75]
["08:12:47",19.809999999999999]
["08:13:47",19.809999999999999]
["08:14:46",19.809999999999999]
["08:15:46",19.690000000000001]
["08:16:46",19.690000000000001]
["08:17:46",19.690000000000001]
["08:18:46",19.75]
["08:19:46",19.87]
["08:20:46",19.940000000000001]
["08:21:46",20]
["08:22:46",19.87]
["08:23:46",20]
["08:24:46",20]
["08:25:46",20.12]
["08:26:46",20.190000000000001]
["08:27:46",20.25]
["08:28:46",20.309999999999999]
["08:29:46",20.309999999999999]
["08:30:46",20.37]
["08:31:46",20.37]
["08:32:46",20.37]
["08:33:46",20.37]
["08:34:46",20.37]
["08:35:46",20.56]
["08:36:46",20.69]
["08:37:46",20.75]
["08:38:46",20.75]
["08:39:46",20.81]
["08:40:46",20.87]
["08:41:46",21]
["08:42:46",21.06]
["08:43:46",21.19]
["08:44:46",21.19]
["08:45:46",21.25]
["08:46:46",21.25]
["08:47:46",21.25]
["08:48:45",21.37]
["08:49:45",21.44]
["08:50:45",21.56]
["08:51:45",21.56]
["08:52:45",21.56]
["08:53:45",21.56]
["08:54:45",21.75]
["08:55:45",21.81]
["08:56:45",21.75]
["08:57:45",21.81]
["08:58:45",22.06]
["08:59:45",22.12]
["09:00:45",22.5]
["09:01:45",22.62]
["09:02:45",22.62]
["09:03:45",22.56]
["09:04:45",22.75]
["09:05:45",22.62]
["09:06:45",22.5]
["09:07:45",22.62]
["09:08:45",22.62]
["09:09:45",22.75]
["09:10:45",22.87]
["09:11:45",23]
["09:12:45",23.12]
["09:13:45",23]
["09:14:45",23.25]
["09:15:45",23.37]
["09:16:45",23.69]
["09:17:45",23.87]
["09:18:45",24.06]
["09:19:45",23.87]
["09:20:45",23.44]
["09:21:45",23.37]
["09:22:45",23.69]
["09:23:45",23.94]
["09:24:44",24.19]
["09:25:45",24.37]
["09:26:44",24.44]
["09:27:44",24.69]
["09:28:44",24.81]
["09:29:44",25.25]
["09:30:44",25.75]
["09:31:44",25.94]
["09:32:44",25.56]
["09:33:44",25.5]
["09:34:44",25.5]
["09:35:44",25.12]
["09:36:44",25.25]
["09:37:44",24.87]
["09:38:44",24.56]
["09:39:44",24.62]
["09:40:44",25]
["09:41:44",25.19]
["09:42:44",25.31]
["09:43:44",25.19]
["09:44:44",25.5]
["09:45:44",25.81]
["09:46:44",26.19]
["09:47:44",26.25]
["09:48:44",26.37]
["09:49:44",26.25]
["09:50:44",26.19]
["09:51:44",26.44]
["09:52:44",26.62]
["09:53:44",26.5]
["09:54:44",26.44]
["09:55:44",26.94]
["09:56:44",26.94]
["09:57:44",27.06]
["09:58:44",27.19]
["09:59:43",27.06]
["10:00:43",27]
["10:01:43",27.31]
["10:02:43",27]
["10:03:43",27.69]
["10:04:43",29.06]
["10:05:43",29.25]
["10:06:43",29.31]
["10:07:43",29.56]
["10:08:43",29.87]
["10:09:43",29.87]
["10:10:43",30]
["10:11:43",30]
["10:12:43",30.5]
["10:13:43",31.19]
["10:14:43",31.19]
["10:15:43",31.19]
["10:16:43",30.75]
["10:17:43",30.8]
["10:18:43",30.69]
["10:19:43",31.19]
["10:20:43",31.31]
["10:21:43",30.75]
["10:22:43",30.87]
["10:23:43",30.75]
["10:24:43",31.19]
["10:25:43",31.69]
["10:26:43",31.69]
["10:27:43",32.56]
["10:28:43",32.81]
["10:29:43",33]
["10:30:43",33.19]
["10:31:43",33.06]
["10:32:43",33]
["10:33:42",33]
["10:34:42",32.880000000000003]
["10:35:42",33]
["10:36:42",32.94]
["10:37:42",34.69]
["10:38:42",36.06]
["10:39:42",35.69]
["10:40:42",36.81]
["10:41:42",36.81]
["10:42:42",37.31]
["10:43:42",38.06]
["10:44:42",38.94]
["10:45:42",40]
["10:46:42",40.31]
["10:47:42",40.25]
["10:48:42",40.5]
["10:49:42",41.5]
["10:50:42",41.69]
["10:51:42",42.63]
["10:52:42",43.31]
["10:53:42",43.56]
["10:54:42",43.75]
["10:55:42",43.94]
["10:56:42",43.69]
["10:57:42",44.06]
["10:58:42",44.19]
["10:59:42",44.44]
["11:00:42",43.88]
["11:01:42",44.44]
["11:02:42",44.81]
["11:03:42",44.94]
["11:04:42",45.44]
["11:05:42",45.88]
["11:06:42",46.81]
["11:07:42",46.75]
["11:08:42",46.63]
["11:09:42",47.25]
["11:10:41",47.75]
["11:11:41",46.88]
["11:12:41",46.56]
["11:13:41",46.5]
["11:14:41",47.06]
["11:15:41",46.69]
["11:16:41",46.63]
["11:17:41",46.56]
["11:18:41",46.69]
["11:19:41",45.25]
["11:20:41",45.19]
["11:21:41",46.31]
["11:22:41",47.44]
["11:23:41",48.44]
["11:24:41",47.94]
["11:25:41",47.13]
["11:26:41",46]
["11:27:41",45.44]
["11:28:41",45.13]
["11:29:41",44.13]
["11:30:41",42.88]
["11:31:41",42.63]
["11:32:41",44.63]
["11:33:41",45.94]
["11:34:41",45.31]
["11:35:41",45.44]
["11:36:41",45.25]
["11:37:41",45.25]
["11:38:41",44.56]
["11:39:41",44.5]
["11:40:41",43.94]
["11:41:41",42.56]
["11:42:41",42.13]
["11:43:41",41.38]
["11:44:41",41.25]
["11:45:41",41.19]
["11:46:41",41]
["11:47:41",41.06]
["11:48:41",41.63]
["11:49:41",41.81]
["11:50:41",41.63]
["11:51:40",40.56]
["11:52:40",39.5]
["11:53:40",40.5]
["11:54:40",41.56]
["11:55:40",41.63]
["11:56:40",41.69]
["11:57:40",40.94]
["11:58:40",40.44]
["11:59:40",40.380000000000003]
["12:00:40",40.130000000000003]
["12:01:40",39.75]
["12:02:40",39.130000000000003]
["12:03:40",37.5]
["12:04:40",37.06]
["12:05:40",37]
["12:06:40",36.31]
["12:07:40",36.44]
["12:08:40",36.75]
["12:09:40",37.130000000000003]
["12:10:40",37.630000000000003]
["12:11:40",37.25]
["12:12:40",36.44]
["12:13:40",37.44]
["12:14:40",37.19]
["12:15:40",39.94]
["12:16:40",41.13]
["12:17:40",42.06]
["12:18:40",41.38]
["12:19:40",40]
["12:20:40",38.19]
["12:21:40",38.31]
["12:22:40",37.880000000000003]
["12:23:40",37.94]
["12:24:40",38.06]
["12:25:40",37.81]
["12:26:40",38.69]
["12:27:40",39.25]
["12:28:40",39.69]
["12:29:40",40.19]
["12:30:40",39.44]
["12:31:40",38.75]
["12:32:39",38.81]
["12:33:39",39.31]
["12:34:39",40]
["12:35:39",39.44]
["12:36:39",39.06]
["12:37:39",38.25]
["12:38:39",37.56]
["12:39:39",38.130000000000003]
["12:40:39",37.380000000000003]
["12:41:39",37.19]
["12:42:39",36.94]
["12:43:39",36.25]
["12:44:39",36.130000000000003]
["12:45:39",35.94]
["12:46:39",35.630000000000003]
["12:47:39",36.06]
["12:48:39",35.69]
["12:49:39",35.75]
["12:50:39",35.5]
["12:51:39",35.380000000000003]
["12:52:39",35.630000000000003]
["12:53:39",35.69]
["12:54:39",36.25]
["12:55:39",36.25]
["12:56:39",36.75]
["12:57:39",38.380000000000003]
["12:58:39",39.44]
["12:59:39",42.13]
["13:00:39",44.38]
["13:01:39",42.94]
["13:02:39",42.31]
["13:03:39",41.5]
["13:04:39",41.63]
["13:05:39",41.13]
["13:06:39",42.81]
["13:07:39",43.31]
["13:08:39",43.81]
["13:09:39",43.06]
["13:10:39",42.88]
["13:11:39",43.56]
["13:12:39",45]
["13:13:39",45]
["13:14:38",45.69]
["13:15:38",46.56]
["13:16:38",44.19]
["13:17:38",44.44]
["13:18:38",45]
["13:19:38",45.19]
["13:20:38",46.94]
["13:21:38",47.25]
["13:22:38",47.38]
["13:23:38",47.63]
["13:24:38",45.5]
["13:25:38",45.31]
["13:26:38",45.5]
["13:27:38",45.75]
["13:28:38",44.38]
["13:29:38",42.31]
["13:30:38",40.19]
["13:31:38",40.25]
["13:32:38",42.25]
["13:33:38",41.69]
["13:34:38",41]
["13:35:38",39.56]
["13:36:38",38.81]
["13:37:38",38.880000000000003]
["13:38:38",38.31]
["13:39:38",38.06]
["13:40:38",38.19]
["13:41:38",38.630000000000003]
["13:42:38",39]
["13:43:38",38.630000000000003]
["13:44:38",37.94]
["13:45:38",37.94]
["13:46:38",37.81]
["13:47:38",37.880000000000003]
["13:48:38",38.75]
["13:49:38",38.880000000000003]
["13:50:38",39.31]
["13:51:38",41.06]
["13:52:38",41.25]
["13:53:38",42.19]
["13:54:38",42.38]
["13:55:38",41.25]
["13:56:38",40.06]
["13:57:38",39.31]
["13:58:37",39.130000000000003]
["13:59:37",38.5]
["14:00:37",38.5]
["14:01:37",38.19]
["14:02:37",38.06]
["14:03:37",39.130000000000003]
["14:04:37",40.630000000000003]
["14:05:37",40.56]
["14:06:37",41.38]
["14:07:37",41.63]
["14:08:37",41.75]
["14:09:37",40.56]
["14:10:37",40.31]
["14:11:37",39.19]
["14:12:37",38.31]
["14:13:37",37.69]
["14:14:37",39.44]
["14:15:37",40.5]
["14:16:37",40.94]
["14:17:37",39.630000000000003]
["14:18:37",39.380000000000003]
["14:19:37",38.81]
["14:20:37",38.19]
["14:21:37",38.25]
["14:22:37",38.630000000000003]
["14:23:37",38.5]
["14:24:37",40.880000000000003]
["14:25:37",40.130000000000003]
["14:26:37",38.81]
["14:27:37",37.94]
["14:28:37",37.25]
["14:29:37",37.06]
["14:30:37",36.56]
["14:31:37",35.880000000000003]
["14:32:37",35.44]
["14:33:37",35.25]
["14:34:37",35.31]
["14:35:37",35.880000000000003]
["14:36:37",35.880000000000003]
["14:37:37",35.94]
["14:38:37",35.94]
["14:39:37",35.75]
["14:40:37",35.69]
["14:41:37",35.44]
["14:42:37",35.06]
["14:43:37",34.880000000000003]
["14:44:36",34.69]
["14:45:36",34.5]
["14:46:36",34.69]
["14:47:36",34.130000000000003]
["14:48:36",33.75]
["14:49:36",33.19]
["14:50:36",33.31]
["14:51:36",33.06]
["14:52:36",32.81]
["14:53:36",32.69]
["14:54:36",32.25]
["14:55:36",32]
["14:56:36",31.75]
["14:57:36",31.44]
["14:58:36",31.25]
["14:59:36",31.69]
["15:00:36",31.31]
["15:01:36",31.25]
["15:02:36",31.19]
["15:03:36",31]
["15:04:36",30.94]
["15:05:36",30.69]
["15:06:36",30.87]
["15:07:36",30.44]
["15:08:36",30.06]
["15:09:36",29.69]
["15:10:36",29.12]
["15:11:36",29.12]
["15:12:36",28.87]
["15:13:36",28.69]
["15:14:36",28.69]
["15:15:36",28.37]
["15:16:36",28.25]
["15:17:36",28.19]
["15:18:36",27.81]
["15:19:36",27.56]
["15:20:36",27.37]
["15:21:36",27.62]
["15:22:36",28]
["15:23:36",28.12]
["15:24:35",28.12]
["15:25:35",28.12]
["15:26:35",28]
["15:27:35",27.75]
["15:28:35",27.19]
["15:29:35",26.81]
["15:30:35",26.75]
["15:31:35",26.5]
["15:32:35",26.19]
["15:33:35",26.06]
["15:34:35",25.81]
["15:35:35",25.62]
["15:36:35",25.62]
["15:37:35",24.44]
["15:38:35",23.87]
["15:39:35",23.56]
["15:40:35",23.31]
["15:41:35",22.75]
["15:42:35",22.44]
["15:43:35",22.06]
["15:44:35",22.12]
["15:45:35",21.94]
["15:46:35",21.75]
["15:47:35",21.87]
["15:48:35",22]
["15:49:35",22.25]
["15:50:35",22.56]
["15:51:35",22.81]
["15:52:35",23.44]
["15:53:35",23.81]
["15:54:35",24]
["15:55:35",24.25]
["15:56:35",24.69]
["15:57:35",25.31]
["15:58:35",25.56]
["15:59:35",25.5]
["16:00:35",25.44]
["16:01:34",25.25]
["16:02:34",24.75]
["16:03:34",24.44]
["16:04:34",23.94]
["16:05:34",23.5]
["16:06:34",23.37]
["16:07:34",23.37]
["16:08:34",23.5]
["16:09:34",23.5]
["16:10:34",23.56]
["16:11:34",23.44]
["16:12:34",23.5]
["16:13:34",23.5]
["16:14:34",23.75]
["16:15:34",23.94]
["16:16:34",23.87]
["16:17:34",23.62]
["16:18:34",23.94]
["16:19:34",24.12]
["16:20:34",24]
["16:21:34",23.81]
["16:22:34",23.75]
["16:23:34",23.69]
["16:24:34",23.56]
["16:25:34",23.62]
["16:26:34",23.37]
["16:27:34",23.06]
["16:28:34",22.87]
["16:29:34",22.81]
["16:30:34",22.81]
["16:31:34",22.81]
["16:32:34",22.81]
["16:33:34",22.37]
["16:34:34",22.19]
["16:35:34",22.06]
["16:36:33",21.94]
["16:37:33",21.87]
["16:38:33",21.87]
["16:39:33",21.81]
["16:40:33",21.81]
["16:41:33",21.81]
["16:42:33",21.87]
["16:43:33",21.94]
["16:44:33",22]
["16:45:33",21.94]
["16:46:33",22.12]
["16:47:33",21.81]
["16:48:33",21.75]
["16:49:33",21.69]
["16:50:33",21.56]
["16:51:33",21.56]
["16:52:33",21.5]
["16:53:33",21.37]
["16:54:33",21.44]
["16:55:33",21.37]
["16:56:33",21.44]
["16:57:33",21.25]
["16:58:33",21.12]
["16:59:33",21.25]
["17:00:33",21.19]
["17:01:33",21.31]
["17:02:33",21.44]
["17:03:33",21.56]
["17:04:33",21.87]
["17:05:33",22.06]
["17:06:33",22.19]
["17:07:33",21.94]
["17:08:33",21.94]
["17:09:33",22.19]
["17:10:33",22.75]
["17:11:32",23.5]
["17:12:32",24.19]
["17:13:32",24.69]
["17:14:32",24.62]
["17:15:32",24.5]
["17:16:32",24.31]
["17:17:32",23.94]
["17:18:32",24]
["17:19:32",24.12]
["17:20:32",24.12]
["17:21:32",24.44]
["17:22:32",24.31]
["17:23:32",24.12]
["17:24:32",23.94]
["17:25:32",23.62]
["17:26:32",23.37]
["17:27:32",23.5]
["17:28:32",23.75]
["17:29:32",23.81]
["17:30:32",24]
["17:31:32",24.31]
["17:32:32",24.56]
["17:33:32",25.06]
["17:34:32",25.19]
["17:35:32",25.06]
["17:36:32",25.12]
["17:37:32",25.12]
["17:38:32",25.12]
["17:39:32",25.19]
["17:40:32",25]
["17:41:32",24.94]
["17:42:32",24.87]
["17:43:32",25]
["17:44:32",24.56]
["17:45:32",23.94]
["17:46:31",23.87]
["17:47:31",23.44]
["17:48:31",22.94]
["17:49:31",22.81]

{"sheet":"Plan1","index":2,"n_rows":93,"n_cols":38,"rows_kept":93,"cut":false,"hidden":false,"merged":[]}
["ba ",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"HH",null,"R"]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,3]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["Última Temperatura:",{"$f":"INDEX('Simple Data'!B:B, COUNTA('Simple Data'!B:B))","v":22.81},{"$f":"INDEX('Simple Data'!A:A, COUNTA('Simple Data'!A:A))","v":"17:49:31"}]

{"sheet":"Planilha1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}